Finding True Capacitance

Russell Aguilar

Purpose

The purpose of this lab is to find the real capacitance of the capacitors using devices and formulas.

Background

Capacitors are objects that are able to store an electric charge by having a pair of charged conductors separated by an insulating material. The capacitance of a capacitor is its ability to store this charge.

Materials

2 capacitors with different voltage and capacitance.

1 Macbook laptop computer with Logger Pro installed.

1 voltage sensor that connects to the laptop.

1 double-headed alligator clip wire.

1 resistor.

1 device with which to charge the capacitor.

1 calculator.

Procedure

Step 1: Plug your volt meter into  your laptop and open Logger Pro. Set the timer for the recording, and get it ready to record data.

Step 2: Charge your capacitor.

Step 3: connect the volt meter and alligator clip with the resistor on it.

Step 4: Collect the data using Logger Pro.

Step 5: Repeat steps 1 through 4 with the second capacitor.

Step 6: Solve for the actual capacitance.

Data

Resistor: 985 Ohms of resistance

Capacitor 1: 10 volts potential difference

Stated Capacitance of .25 Farads

Half Life: 203 seconds.

C=203/(.693*985)=.297 Farads.

Actual Capacitance= .297 Farads

Capacitor 2

30 volts potential difference

Stated Capacitance of .024 Farads

Half Life: 17.5 seconds.

C=17.5/(.693*985)

Actual Capacitance=.0256

Observations

In accordance with the exponential decay model, the voltage decreased quicker soon after charging. The graph of the data did in fact appear as a exponential curve. Furthermore, according to our tests, our resistors were close to the capacitance they were marked as, but with a significant degree of variation.

Analysis

The stated capacitance on one of these capacitors is not always the same as the actual capacitance. Our goal was to find out what the real capacitance was, and how far removed from the stated capacitance it is. We found that the actual capacitance was different, but not miles from the stated capacitance. It seems that it worked pretty well. Furthermore, the decay of the voltage followed the model well, so this data is pure.

Conclusion

Our purpose was to determine if the actual capacitance of these capacitors was different from the stated capacitance, and by how much. In this regard, I think we succeeded. We found that the capacitors that we chose were pretty close in capacitance to what was stamped on the outside of the capacitors. One thing you could do to improve this lab would be to start measuring decay in voltage a little while after the capacitor is charged. Though this would take a little longer, your data would be more exact. Also, the resistance was slightly higher than what our resistor had, because our alligator clip wire had some resistance as well. One might want to measure the resistance of that as well.