Acid Dissociation Constant, Ka

In this experiment you will:

- Gain experience mixing solutions of specified concentration.

- Experimentally determine the dissociation constant, Ka, of an acid.

- Investigate the effect of initial solution concentration on the equilibrium constant.

The acid to be used is acetic acid, HC2H3O2, and its dissociation equation is:

HC2H3O2(aq)  H+(aq) + C2H3O2–(aq)

MATERIALS

| TI-83 Plus or TI-84 Plus graphing calculator | wash bottle |
| --- | --- |
| EasyData application | distilled water |
| data-collection interface | 100 mL volumetric flask |
| Vernier pH Sensor | pipets |
| 100 mL beaker | pipet bulb |
| 2.00 M HC2H3O2 |  |

Pre-lab

1.	Write the equilibrium constant expression, Ka, for the dissociation of acetic acid, HC2H3O2. (Use Box 3 in the Data and Calculations table of this experiment.)

2.	You have been assigned two different HC2H3O2 solution concentrations by your teacher. Determine the volume, in mL, of 2.00 M HC2H3O2 required to prepare each. (Show your calculations and answers in Space 4 of the Data and Calculations table.)

Figure 1

PROCEDURE

1.	Obtain and wear safety goggles.

2.	Turn on the calculator. Connect the pH Sensor, data-collection interface, and calculator.

3.	Set up EasyData for data collection.

- Start the EasyData application, if it is not already running.

- Select  from the Main screen, and then select New to reset the application.

4.	Put approximately 50 mL of distilled water into a 100 mL volumetric flask.

5.	Use a pipet bulb (or pipet pump) to pipet the required volume of 2.00 M acetic acid (calculated in Pre-Lab Step 2) into the volumetric flask. CAUTION: Use care when handling the acetic acid. It can cause painful burns if it comes in contact with your skin or gets into your eyes. Fill the flask with distilled water to the 100 mL mark. To prevent overshooting the mark, use a wash bottle filled with distilled water for the last few mL. Mix thoroughly.

6.	Use a utility clamp to secure the pH Sensor to a ring stand as shown in Figure 1.

7.	Determine the pH of your solution as follows:

- Use about 40 mL of distilled water in a 100 mL beaker to rinse the electrode.

- Pour about 30 mL of your solution into a clean 100 mL beaker and use it to thoroughly rinse the electrode.

- Repeat the previous step by rinsing with a second 30 mL portion of your solution.

- Use the remaining 40 mL portion to determine pH. Swirl the solution vigorously. Note: Readings may drift without proper swirling! When the pH reading displayed on the Main screen of the calculator stabilizes, record the pH value in your data table (round to the nearest 0.01 pH unit).

- When done, place the pH Sensor in distilled water.

- Discard the acetic acid solution as directed by your teacher.

8.	Repeat Steps 4–7 for your second assigned solution.

9.	When you are done, rinse the probe with distilled water and return it to the sensor soaking solution. Select , then  to exit EasyData.

Processing the data

1.	Use the TI calculator to determine the [H+]eq from the pH values for each solution.

2.	Use the obtained value for [H+]eq and the equation:

HC2H3O2(aq)  H+(aq) + C2H3O2–(aq)

to determine [C2H3O2–]eq and [HC2H3O2]eq.

3.	Substitute these calculated concentrations into the Ka expression you wrote in Step 1 of the Pre-Lab.

4.	Compare your results with those of other students. What effect does initial HC2H3O2 concentration seem to have on Ka?

observations

DATA TABLE

| 1. Assigned concentration | M | M |
| --- | --- | --- |
| 2. Measured pH |  |  |

| 3. Ka expression |  |  |
| --- | --- | --- |
| 4. Volume of 2 M acetic acid | mL | mL |
| 5. [H+]eq | M | M |
| 6. [C2H3O2–]eq | M | M |
| 7. [HC2H3O2]eq | M | M |
| 8. Ka calculation |  |  |