Timed-Release Vitamin C Tablets

By slowly releasing a vitamin or a medicine throughout the day, timed-release tablets offer a simple alternative to multiple doses. There are several different methods used to achieve the timed-release effect. One common method involves covering the medicine with a polymer coating that allows it to slowly permeate into the body.

Figure 1

OBJECTIVES

In this experiment, you will

- Compare the behavior of timed-release vitamin C tablets with regular vitamin C tablets when each is added to distilled water.

- Use a pH Sensor to monitor the pH value of the two different types of vitamin C tablets over an elapsed time of approximately twelve minutes.

MATERIALS

| computer | 100 mL graduated cylinder |
| --- | --- |
| Vernier computer interface | one 500 mg regular vitamin C tablet |
| Logger Pro | one 500 mg timed-release vitamin C tablet |
| pH Sensor | distilled water |
| magnetic stirrer | wash bottle |
| stirring bar | ring stand |
| 400 mL beaker | utility clamp |

PROCEDURE

1.	Obtain and wear goggles.

2.	Measure out 250 mL of distilled water into a clean, dry 400 mL beaker.

3.	Place the beaker onto a magnetic stirrer and add a small stirring bar.

4.	Connect the pH Sensor to the computer interface. Prepare the computer for data collection by opening the file “31 Vitamin C” from the Chemistry with Vernier folder of Logger Pro.

5.	Use a utility clamp to suspend a pH Sensor on a ring stand as shown in Figure 1. Place the pH Sensor in the beaker of water and adjust its position toward the outside of the beaker so that it is not struck by the stirring bar.

6.	You are now ready to begin collecting data. Click  to begin data collection and wait until the first point is recorded. This will be the initial pH of the distilled water. Add a 500 mg timed-release vitamin C tablet to the distilled water and set the magnetic stirrer at a brisk pace, so that a vortex is present with no splashing. Important: The initial pH reading should be between pH 6 and 7. If it is not, consult your teacher.

7.	Continue with the experiment until data collection has stopped after 12 minutes. Store your data by choosing Store Latest Run from the Experiment menu. Dispose of the beaker contents as directed by your instructor.

8.	Rinse the pH Sensor. After cleaning and drying the beaker, prepare a second 250 mL sample of distilled water. Click  to begin data collection and wait until the first point is recorded—the initial reading must be between pH 6 and 7. With the magnetic stirrer at a brisk pace, add one 500 mg regular vitamin C tablet to the distilled water.

9.	Continue with the experiment until data collection has stopped after 12 minutes. Dispose of the beaker contents as directed by your teacher. Rinse the pH Sensor and return it to the pH storage solution.

10.	Both pH runs should now be displayed on the same graph. The plot for Run 1 (timed-release vitamin C) is red and the plot for Latest Run (regular vitamin C) is blue.

11.	Find the pH of each type of vitamin-C tablet at 0, 4, 8, and 12 minutes.

- Click on the Examine button, .

- Examine the data pairs on the displayed graph. Based on this data, determine the pH value at 0, 4, 8, and 12 minutes for the first run (timed-released vitamin C) and the second run (regular vitamin C). Record these values in your data table

12.	(optional) Print a graph of pH vs. time (with two curves displayed). Annotate each curve as timed-release vitamin C or regular vitamin C.

Processing the data

1.	Using the pH values in the data table, compare the change in pH (pH) during these three time intervals: 0–4 minutes, 4–8 minutes, and 8–12 minutes. Which vitamin-C tablet had the largest decrease in pH during each of these intervals? Explain.

2.	Would you expect one 1000 mg vitamin C tablet or two 500 mg tablets to take more time to release the vitamin C (assume both are regular tablets)? Explain.

3.	During the experiment, did you observe any differences in appearance or behavior of the two types of tablets?

4.	What are some factors that could cause the results of this experiment to differ from what actually occurs when these tablets dissolve in your stomach?

5.	(Optional) One tablet contains, according to the product description, a total of 500 mg of ascorbic acid (H2C6H6O6). If you were to dissolve 500 mg of ascorbic acid in 250 mL of solution, what would be the pH of the solution? How does this calculated pH compare to the final pH reading that appears on your titration curves? Which product is closer to reaching the calculated pH?

DATA TABLE

| Time (min) | pH of timed-release vitamin C | pH of regular vitamin C |
| --- | --- | --- |
| 0 |  |  |
| 4 |  |  |
| 8 |  |  |
| 12 |  |  |