The Buffer in Lemonade

One important property of weak acids and weak bases is their ability to form buffers. A buffer is the combination of a weak acid and a salt of the weak acid. Acetic acid and sodium acetate are an example of this kind of buffer pair. Buffers resist changes in pH upon the addition of small amounts of H+ or OH– ions. The dissociation equation for acetic acid contains both of the buffer components, HC2H3O2 and C2H3O2–:

HC2H3O2(aq)  H+(aq) + C2H3O2–(aq)

When a small amount of an HCl solution is added to the buffer solution, most of the H+ ions are removed when they react with acetate ions:

H+(aq) + C2H3O2–(aq)  HC2H3O2(aq)

When a solution of NaOH is added to the buffer, most of the OH– ions are removed when they react with acetic acid molecules:

OH–(aq) + HC2H3O2(aq)  H2O(l) + C2H3O2–(aq)

Buffers are incorporated into various consumer products to help control the effects of varying pH. The popular powdered drink mix used in this experiment uses a citric acid–sodium citrate buffer to “control acidity,” according to its label.

OBJECTIVES

In this experiment, you will

- Use a pH Sensor to monitor pH as you titrate a given volume of the commercial brand of lemonade drink.

- Use a pH Sensor to monitor pH as you titrate an unbuffered solution of 0.010 M citric acid.

- Compare the results of the unbuffered solution with the lemonade buffer system.

MATERIALS

| computer | distilled water |
| --- | --- |
| Vernier computer interface | 50 mL or 100 mL graduated cylinder |
| Logger Pro | 250 mL beaker |
| Vernier pH Sensor | ring stand |
| 0.01 M citric acid solution | 2 utility clamps |
| 0.10 M NaOH solution | magnetic stirrer with stirring bar (if available) |
| lemonade drink | wash bottle with distilled water |

PROCEDURE

1.	Obtain and wear goggles.

2.	Use a graduated cylinder to measure out 40 mL of the lemonade drink and 60 mL of distilled water into a 250 mL beaker. CAUTION: Do not eat or drink in the laboratory.

3.	Place the beaker on a magnetic stirrer and add a stirring bar. If no magnetic stirrer is available, you will need to stir with a stirring rod during the titration.

4.	Connect the pH Sensor to the computer interface. Prepare the computer for data collection by opening the file “32 Buffer Lemonade” from the Chemistry with Vernier folder of Logger Pro.

Figure 1

5.	Use a utility clamp to suspend a pH Sensor on a ring stand as shown in Figure 1. Position the pH Sensor in the lemonade mixture and adjust its position so that it is not struck by the stirring bar.

6.	Obtain a 50 mL buret and rinse the buret with a few mL of the 0.10 M NaOH solution. CAUTION: Sodium hydroxide solution is caustic. Avoid spilling it on your skin or clothing. Dispose of the rinse solution as directed by your teacher. Use a utility clamp to attach the buret to the ring stand as shown in Figure 1. Fill the buret a little above the 0.00 mL level of the buret with 0.10 M NaOH solution. Drain a small amount of NaOH solution so it fills the buret tip and leaves the NaOH at the 0.00 mL level of the buret. Record the precise concentration of the NaOH solution in your data table.

7.	You are now ready to perform the titration. This process goes faster if one person manipulates and reads the buret while another person operates the handheld and enters volumes.

- Click  to begin data collection.

- Before you have added any NaOH solution, click  and enter 0 as the buret volume in mL. Click  to store the first data pair for this experiment.

- Add 2.0 mL of NaOH titrant. When the pH stabilizes, click  and enter the current buret reading in mL. Click .You have now saved the second data pair for the experiment.

- Continue to add 2.0 mL increments, entering the buret level after each increment. When the pH has leveled off between 10.5 and 11, click  to end data collection. Dispose of the beaker contents as directed by your teacher.

8.	Examine the data on the displayed graph to find the equivalence point—that is the largest increase in pH upon the addition of 2.0 mL of NaOH solution. As you move the examine line, the pH and volume values of each data point are displayed to the right of the graph. Go to the region of the graph with the largest increase in pH. Find the NaOH volume just before this jump. Record this value in the data table. Then record the NaOH volume after the 2.0 mL addition producing the largest pH increase.

9.	Store the data from the first run by choosing Store Latest Run from the Experiment menu.

10.	Use a graduated cylinder to measure out 40 mL of 0.010 M citric acid solution and 60 mL of distilled water into a 250 mL beaker. Position the pH Sensor, beaker, and stirring bar as you did in Step 5. Refill the buret to the 0.00 mL level of the buret with 0.10 M NaOH solution. CAUTION: Sodium hydroxide solution is caustic. Avoid spilling it on your skin or clothing.

11.	Repeat Steps 7–8 of the procedure. Run 1 (lemonade drink) is plotted in red and Latest Run (unbuffered citric acid solution) is plotted in blue.

12.	When you are finished, dispose of the beaker contents as directed by your teacher. Rinse the pH Sensor and return it to the pH storage solution.

13.	Print a graph of pH vs. volume (with two curves displayed). Annotate each curve as buffered lemonade or unbuffered citric acid.

Processing the data

1.	Determine the volume of NaOH added at the equivalence point for each trial. To do this, add the two NaOH values determined in Step 10 and divide by two.

2.	Calculate the number of moles of NaOH used in each titration. Which solution reacted with more NaOH when the equivalence point was reached?

3.	Examine the graph of each titration. How does the titration curve of the buffered lemonade compare to the curve of the unbuffered citric acid solution?

DATA TABLE and Calculations

|  | Lemonade | Citric Acid solution |
| --- | --- | --- |
| Concentration of NaOH | M | M |
| NaOH volume added before the largest pH increase | mL | mL |
| NaOH volume added after the largest pH increase | mL | mL |

| Volume of NaOH added at the equivalence point | mL | mL |
| --- | --- | --- |
| Moles NaOH | mol | mol |