Determining the Free Chlorine
Content of Swimming Pool Water

Physicians in the nineteenth century used chlorine water as a disinfectant. Upon the discovery that certain diseases were transmitted by water, it became common for municipalities to chlorinate public water supplies. It is now standard practice to add chlorine to swimming pools and hot tubs. Chlorine reacts with water to form hypochlorous acid (HOCl) and hypochlorite ion (ClO–).

Cl2 + H2O  HOCl + H+ + Cl–

HOCl  H+ + OCl–

The chlorine that exists in water as HOCl and OCl– is known as free chlorine. Free chlorine can kill bacteria, prevent algae growth, and oxidize iron to form a precipitate that can be removed from a pool by the filtering system. Swimming pool operators try to maintain a desired range of 1.0 to 1.5 mg/L of free chlorine for proper sanitation.

Figure 1

In this experiment, you will use a Colorimeter to determine the amount of free chlorine in a sample of swimming pool or hot tub water. You will first measure the absorbance of green light (565 nm) by aqueous solutions of known chlorine concentration. From the resulting graph of absorbance vs. free chlorine concentration (Beer’s law), you will be able to determine the free chlorine content of your swimming pool sample.

A compound called DPD (N, N-diethyl-p-phenylenediamine) is reacted with the chlorine in each sample. The DPD is oxidized, forming a magenta (red) product. The intensity of the sample’s color is directly proportional to its chlorine concentration.

OBJECTIVES

In this experiment, you will

- Prepare free chlorine standard solutions.

- Use a Colorimeter to measure the absorbance of each standard solution.

- Plot a graph of absorbance of free chlorine vs. concentration.

- Use a Colorimeter and your Beer’s law plot to determine the amount of free chlorine in a sample of swimming pool or hot tub water.

MATERIALS

| computer | free-chlorine standard (10 mg/L) |
| --- | --- |
| Vernier computer interface | water samples from a pool or hot tub |
| Logger Pro | six DPD free-chlorine powder pillows |
| Vernier Colorimeter | 25 mL pipet |
| one cuvette | 10 mL pipet |
| tissues (preferably lint-free) | pipet pump or pipet bulb |
| six 50 mL beakers | stirring rod |
| 100 mL beaker | distilled water |

PROCEDURE

1.	Obtain and wear goggles.

2.	Label six clean, dry, 50 mL beakers 1–6. Transfer about 20 mL of the free-chlorine standard solution (10 mg/L) to a 100 mL beaker. CAUTION: Handle this solution with care. Avoid breathing its vapors. Use a 10 mL pipet to measure out exactly 1.00 mL of the free-chlorine standard solution into Beaker 1. Use a 25 mL pipet to add 24.00 mL of distilled water to Beaker 1. Continue using this procedure to prepare the free-chlorine solutions in Beakers 2–5, using the amounts of the free-chlorine standard solution and distilled water shown here:

| Beaker number | Free-chlorine standard (10 mg/L) (mL) | Distilled water (mL) | Free-chlorine concentration (mL) |
| --- | --- | --- | --- |
| 1 | 1.00 | 24.00 | 0.40 |
| 2 | 2.00 | 23.00 | 0.80 |
| 3 | 3.00 | 22.00 | 1.20 |
| 4 | 4.00 | 21.00 | 1.60 |
| 5 | 5.00 | 20.00 | 2.00 |

3.	Use a 25 mL pipet to transfer 25.00 mL of your swimming pool water sample to Beaker 6.

4.	Add one DPD free-chlorine powder pillow to each of the six labeled beakers. CAUTION: Handle the powder pillows with care. Mix the powder thoroughly into the sample using a stirring rod. Note: It is not important if a few small bits of powder do not dissolve.

5.	Connect the Colorimeter to the computer interface. Prepare the computer for data collection by opening the file “33 Free Chlorine” from the Chemistry with Vernier folder of Logger Pro.

6.	Prepare a blank by filling an empty cuvette 3/4 full with distilled water. Seal the cuvette with a lid. To correctly use a Colorimeter cuvette, remember:

- All cuvettes should be wiped clean and dry on the outside with a tissue.

- Handle cuvettes only by the top edge of the ribbed sides.

- All solutions should be free of bubbles.

- Always position the cuvette with its reference mark facing toward the white reference mark at the top of the cuvette slot on the Colorimeter.

7.	Calibrate the Colorimeter.

- Open the Colorimeter lid.

- Holding the cuvette by the upper edges, place it in the cuvette slot of the Colorimeter. Close the lid.

- If your Colorimeter has a CAL button, Press the < or > button on the Colorimeter to select a wavelength of 565 nm (Green) for this experiment. Press the CAL button until the red LED begins to flash. Then release the CAL button. When the LED stops flashing, the calibration is complete.

8.	You are now ready to collect absorbance-concentration data for the five standard solutions.

- Click  to start data collection.

- Empty the water from the cuvette. Using the solution in Beaker 1, rinse the cuvette twice with ~1-mL amounts and then fill it 3/4 full. Wipe the outside with a tissue, place it in the Colorimeter, and close the lid.

- When the value displayed on the monitor has stabilized, click  and enter 0.40 as the concentration in mg/L. Click .. The absorbance and concentration values have now been saved for the first solution.

- Discard the cuvette contents as directed by your instructor. Using the solution in Beaker 2, rinse the cuvette twice with ~1 mL amounts and then fill it 3/4 full. After closing the lid, wait for the value to stabilize and click . Enter 0.80 as the concentration in mg/L, and click .

- Repeat the procedure for Beaker 3 (1.2 mg/L), Beaker 4 (1.6 mg/L), and Beaker 5 (2.0 mg/L). When you have finished with the Beaker 5 solution, click . Note: Wait until Step 9 to measure the absorbance of the swimming pool water (Beaker 6).

- Examine the data pairs on the absorbance vs. concentration graph. As you move the examine line, the absorbance and concentration values of each data point are displayed to the right of the graph. Record the absorbance and concentration data values in your data table (round to the nearest 0.001).

9.	Examine the graph of absorbance vs. concentration. To see if the curve represents a direct relationship between these two variables, click the Linear Fit button, . A best-fit linear regression line will be shown for your five data points. This line should pass near or through the data points and the origin of the graph. (Note: Another option is to choose Curve Fit from the Analyze menu, and then select Proportional. The Proportional fit has a y-intercept value equal to 0; therefore, this regression line will always pass through the origin of the graph).

10.	Determine the absorbance value of the swimming pool water.

- Obtain 10 mL of the swimming pool water to be tested.

- Rinse the cuvette twice with the swimming pool water and fill it about 3/4 full. Wipe the outside of the cuvette, place it into the Colorimeter, and close the lid.

- Read the absorbance value displayed in the meter. (Important: The reading in the meter is live, so it is not necessary to click  to read the absorbance value.) When the displayed absorbance value has stabilized, record the absorbance value for Trial 6, the swimming pool sample, in your data table (round to the nearest 0.001).

11.	Discard the solutions as directed by your instructor. Proceed directly to Steps 1–2 of Processing the Data.

Processing the data

1.	Use the following method to determine the concentration of the swimming pool water sample. With the linear regression curve still displayed on your graph, choose Interpolate from the Analyze menu. A vertical cursor now appears on the graph. The cursor’s concentration and absorbance coordinates are displayed in the floating box. Move the cursor along the regression line until the absorbance value is approximately the same as the absorbance value you recorded in Step 10. The corresponding concentration value is the free chlorine concentration of your swimming pool sample, in mg/L.

2.	Print a graph of absorbance vs. concentration, with a regression line and interpolated unknown concentration displayed. To keep the interpolated concentration value displayed, move the cursor straight up the vertical cursor line until the tool bar is reached. Enter your name(s) and the number of copies of the graph you want.

DATA and calculations

| Trial | Concentration (mg/L) | Absorbance |
| --- | --- | --- |
| 1 | 0.40 |  |
| 2 | 0.80 |  |
| 3 | 1.20 |  |
| 4 | 1.60 |  |
| 5 | 2.00 |  |
| 6 | Swimming pool sample |  |

| Concentration of swimming pool sample | mg/L |
| --- | --- |