Determining the Quantity
of Iron in a Vitamin Tablet

As biochemical research becomes more sophisticated, we are learning more about the role of metallic elements in the human body. For example, copper and zinc are present in enzymes, and trace amounts of molybdenum and selenium are vital in regulating internal oxidation-reduction reactions. Iron is necessary for oxygen transport in the bloodstream. Many people gain these essential elements through their diets, or by taking multivitamin tablets.

The iron that is present in these tablets is in the form of water-soluble Fe2+ ions. In this experiment, you will be using the Colorimeter to determine the quantity of iron in a vitamin tablet. You will prepare four solutions of known Fe2+ concentration. The Colorimeter will be used to determine the absorbance of each solution. When a graph of absorbance vs. concentration is plotted for these solutions, a direct relationship should result (Beer’s law).

The Colorimeter is also used to measure the absorbance of a solution prepared from a multivitamin tablet. This absorbance value is converted to concentration using the Beer’s law curve. From this concentration, the total mass of iron in the original tablet can be calculated.

The iron in each tablet tested will be reacted with 1,10 phenanthroline so that it develops a color that the Colorimeter can detect. Sodium acetate and hydroxylamine hydrochloride are added to control the pH of the mixtures and keep the iron in the +2 oxidation state.

OBJECTIVES

In this experiment, you will

- Prepare Fe2+ standard solutions.

- Use a Colorimeter to measure the absorbance of each standard solution.

- Plot a graph of absorbance of Fe2+ vs. concentration.

- Use a Colorimeter and your Beer’s law plot to determine the quantity of iron in a vitamin tablet.

MATERIALS

| computer | multivitamin tablet with iron |
| --- | --- |
| Vernier computer interface | 20 mg/L iron (II) solution |
| Logger Pro | 1% hydroxylamine hydrochloride |
| Vernier Colorimeter | 1 M sodium acetate |
| one cuvette | 1% 1,10 phenanthroline |
| four 20 X 150 mm test tubes | 0.010 M HCl |
| test tube rack | distilled water |
| mortar and pestle | 50 mL graduated cylinder |
| hot plate | two 100 mL beakers |
| filter funnel | two 10 mL graduated cylinders |
| filter paper | pipet pump or pipet bulb |
| stirring rod | two 10 mL pipets |

PROCEDURE

1.	Obtain and wear goggles.

2.	Weigh one multivitamin tablet and record its mass to the nearest 0.001 g. Use a mortar and pestle to grind the tablet to a fine powder. Also record the mass of iron, in mg, listed on the label of the vitamin container.

3.	Measure out 0.200 g of the powdered tablet and transfer it to a 100 mL beaker. Note: Try to avoid including bits of the tablet coating in your 0.200 g sample. Add 20 mL of 0.010 M HCl and 10 mL of distilled water. Mix thoroughly. CAUTION: Handle the hydrochloric acid with care. It can cause painful burns if it comes in contact with the skin.

4.	Use a hot plate to heat the mixture in the beaker to a gentle boil. Boil the mixture for 5–7 minutes. Frequently stir the mixture with a stirring rod. After boiling, allow the mixture to cool to nearly room temperature. Some particles may remain undissolved, which is normal and will not affect your experiment.

5.	Set up a funnel and filter paper. Pour the mixture through the filter, collecting the liquid filtrate in a 50 mL graduated cylinder. Rinse the 100 mL beaker with 10 mL of distilled water and pour the water through the filter. When the filter has drained, fill the graduated cylinder to the 50 mL mark with distilled water. Transfer this solution to a clean, dry, 100 mL beaker.

6.	Label five clean, dry, test tubes 1–5. Prepare a set of four standards and one blank solution in the test tubes using the following solutions: CAUTION: Handle the solutions with care.

- 20 mg/L iron (II) solution

- 1% hydroxylamine hydrochloride

- 1 M sodium acetate

- 1% 1,10 phenanthroline

Note: Solutions B, C, D, and the distilled water may be measured successively into one 10 mL graduated cylinder. Then add solution A, using a pipet for greater precision. Transfer the solution into a test tube. Important: Mix each solution thoroughly with a stirring rod.

| Test Tube number | A (mL) | B (mL) | C (mL) | D (mL) | Distilled water (mL) |
| --- | --- | --- | --- | --- | --- |
| 1 | 1.00 | 1.00 | 1.00 | 1.00 | 6.00 |
| 2 | 2.00 | 1.00 | 1.00 | 1.00 | 5.00 |
| 3 | 3.00 | 1.00 | 1.00 | 1.00 | 4.00 |
| 4 | 4.00 | 1.00 | 1.00 | 1.00 | 3.00 |
| 5 (blank) | 0.00 | 1.00 | 1.00 | 1.00 | 7.00 |

7.	Connect the Colorimeter to the computer interface. Prepare the computer for data collection by opening the file “34 Iron in Vitamins” from the Chemistry with Vernier folder of Logger Pro.

8.	Prepare a blank by filling an empty cuvette 3/4 full with distilled water. Seal the cuvette with a lid. To correctly use a Colorimeter cuvette, remember:

- All cuvettes should be wiped clean and dry on the outside with a tissue.

- Handle cuvettes only by the top edge of the ribbed sides.

- All solutions should be free of bubbles.

- Always position the cuvette with its reference mark facing toward the white reference mark at the top of the cuvette slot on the Colorimeter.

9.	Calibrate the Colorimeter.

- Open the Colorimeter lid.

- Holding the cuvette by the upper edges, place it in the cuvette slot of the Colorimeter. Close the lid.

- If your Colorimeter has a CAL button, Press the < or > button on the Colorimeter to select a wavelength of 565 nm (Green) for this experiment. Press the CAL button until the red LED begins to flash. Then release the CAL button. When the LED stops flashing, the calibration is complete.

10.	You are now ready to collect absorbance-concentration data for the five standard solutions.

- Click  to start data collection.

- Empty the water from the cuvette. Using the solution in Test Tube 1, rinse the cuvette twice with ~1-mL amounts and then fill it 3/4 full. Wipe the outside with a tissue, place it in the Colorimeter, and close the lid.

- When the value displayed on the monitor has stabilized, click  and enter 2.00 as the concentration in mg/L. Click .. The absorbance and concentration values have now been saved for the first solution.

- Discard the cuvette contents as directed by your instructor. Using the solution in Test Tube 2, rinse the cuvette twice with ~1 mL amounts and then fill it 3/4 full. After closing the lid, wait for the value to stabilize and click . Enter 4.00 as the concentration in mg/L, and click .

- Repeat the procedure for Test Tube 3 (6.00 mg/L) and Test Tube 4 (8.00 mg/L). When you have finished with the Test Tube 4 solution, click .

- Examine the data pairs on the graph of absorbance vs. concentration. As you move the examine line, the absorbance and concentration values of each data point are displayed to the right of the graph. Record the absorbance values in your data table (round to the nearest 0.001).

11.	Examine the graph of absorbance vs. concentration. To see if the curve represents a direct relationship between these two variables, click the Linear Fit button, . A best-fit linear regression line will be shown for your five data points. This line should pass near or through the data points and the origin of the graph. (Note: Another option is to choose Curve Fit from the Analyze menu, and then select Proportional. The Proportional fit has a y-intercept value equal to 0; therefore, this regression line will always pass through the origin of the graph).

12.	Prepare the tablet solution in the 100 mL beaker for testing.

- Measure out 5.00 mL of the tablet solution into a second clean, dry, 100 mL beaker.

- Add 5.00 mL each of solutions B, C, and D, plus 30.0 mL of distilled water.

- Mix the solution thoroughly.

13.	Find the absorbance of the tablet solution.

- Rinse the cuvette twice with the tablet solution you prepared in Step 12, and fill it 3/4 full.

- Wipe the outside of the cuvette, place it into the Colorimeter, and close the lid. CAUTION: Handle the solutions with care.

- Read the absorbance value displayed in the meter. (Important: The reading in the meter is live, so it is not necessary to click  to read the absorbance value.) When the displayed absorbance value has stabilized, record the absorbance value for the tablet solution in your data table (round to the nearest 0.001).

- Dispose of the remaining solution in the flask as directed by your instructor.

14.	Discard the solutions as directed by your instructor. Proceed directly to Steps 1–4 of Processing the Data.

Processing the data

1.	Use the following method to determine the iron concentration in tablet solution. With the linear regression curve still displayed on your graph, choose Interpolate from the Analyze menu. A vertical cursor now appears on the graph. The cursor’s concentration and absorbance coordinates are displayed in the floating box. Move the cursor along the regression line until the absorbance value is approximately the same as the absorbance value you recorded in Step 13. The corresponding concentration value is the iron concentration of your tablet solution, in mg/L.

2.	Print a graph of absorbance vs. concentration, with a regression line and interpolated unknown concentration displayed. To keep the interpolated concentration value displayed, move the cursor straight up the vertical cursor line until the tool bar is reached. Enter your name(s) and the number of copies of the graph you want.

3.	Determine the mass of iron in your vitamin tablet.

- Because the tablet solution in Step 12 was diluted by a factor of 1/10, multiply your final iron concentration (in mg/L) by 10 to find the pre-dilution iron concentration, in mg/L.

- A portion of the tablet was dissolved in 50 mL of solution in Step 5. Use this volume and the answer in the previous step to calculate the mass of iron, in mg, in the tablet solution.

- Since the analysis used only a fraction of the total mass of the tablet (see Step 3), multiply the mg of iron in the previous step by the ratio of the total tablet mass to the 0.200 g portion:

mg of iron X = mg of iron in the vitamin tablet

4.	Compare your final answer in the previous step with the mg of iron shown on the label of vitamin tablets you tested. Use these values to calculate the percent error.

DATA and calculations

| Mass of tablet | g |
| --- | --- |
| Mass of iron on label | mg |

| Test Tube Number | Concentration (mg/L) | Absorbance |
| --- | --- | --- |
| 1 | 2.00 |  |
| 2 | 4.00 |  |
| 3 | 6.00 |  |
| 4 | 8.00 |  |
| tablet solution |  |  |

| Iron concentration in the pre-dilution tablet solution (use a factor of 10) | mg/L |
| --- | --- |
| Mass of iron in the original tablet solution | mg |
| Calculated mass of iron in vitamin tablet | mg |
| Percent error | % |