Microscale Acid-Base Titration

A titration is a process used to determine the volume of a solution needed to react with a given amount of another substance. In this experiment, you will titrate hydrochloric acid solution, HCl, with a basic sodium hydroxide solution, NaOH. The concentration of the NaOH solution is given and you will determine the unknown concentration of the HCl. Hydrogen ions from the HCl react with hydroxide ions from the NaOH in a one-to-one ratio to produce water in the overall reaction:

H+(aq) + Cl–(aq) + Na+(aq) +OH–(aq)  H2O(l) + Na+(aq) + Cl–(aq)

When HCl solution is titrated with NaOH solution, the pH value of the acidic solution is initially low. As base is added, the change in pH is quite gradual until close to the equivalence point, when equimolar amounts of acid and base have been mixed. Near the equivalence point, the pH increases very rapidly. The change in pH then becomes more gradual again, before leveling off with the addition of excess base.

Since this experiment may be your introduction to acid-base titrations, you will determine only the approximate concentration of the hydrochloric acid solution. Use the formula:

Macid  =  Mbase X

where Macid is the concentration of the acid (in M or mol/L), Mbase is the concentration of the base, Vbase is the volume of the base (in drops), and Vacid is the volume of the acid. The concentration of the sodium hydroxide solution is 0.10 M. The drops of sodium hydroxide and hydrochloric acid solutions at the equivalence point will be determined from the experiment.

OBJECTIVES

In this experiment, you will

- Perform a microscale acid-base titration.

- Monitor pH.

- Determine the approximate concentration of the acid used in the titration.

MATERIALS

| LabQuest | wash bottle |
| --- | --- |
| LabQuest App | distilled water |
| Vernier pH Sensor | toothpick (for stirring) |
| 0.10 M NaOH solution (in dropper bottle) | phenolphthalein indicator |
| HCl solution (in a dropper bottle) | micro-beaker (top half of a storage |
| ring stand | bottle for the pH Sensor) |
| utility clamp |  |

PROCEDURE

1.	Obtain and wear goggles.

2.	Prepare the pH Sensor for data collection.

- Connect the pH Sensor to LabQuest and choose New from the File menu. If you have an older sensor that does not auto-ID, manually set up the sensor.

- Remove the pH Sensor from the pH storage solution bottle by unscrewing the lid. Carefully slide the lid from the sensor body.

- Rinse the tip of the sensor with distilled water.

- Obtain a pH Sensor storage bottle that has been cut in half. This is your microbeaker!

- With the open end of the pH Sensor pointing upward, as shown here, slip the microbeaker and cap down onto the sensor body (small opening first), so the sensor tip extends about 1 cm into the bowl of the microbeaker. Then tighten the threads of the cap so the cap tightens snugly against the pH Sensor body.

- Attach the utility clamp to a ring stand and to the bottle lid, with the sensor in an inverted position as shown here.

3.	Obtain a dropper bottle containing the HCl solution of unknown concentration. Add 10 drops of the HCl solution into the micro-beaker. As you add the drops, hold the bottle in a vertical position to ensure that drop size is uniform. CAUTION: Handle the hydrochloric acid with care. It can cause painful burns if it comes in contact with the skin. Add 1 drop of phenolphthalein indicator to the microbeaker, then add enough distilled water so the resulting solution completely covers the sensor tip. Stir the solution thoroughly with the toothpick.

4.	Obtain a dropper bottle containing 0.10 M NaOH. Wait until Step 6 to begin adding this solution to the HCl solution in the microbeaker.

5.	Set up the data-collection mode.

- On the Meter screen, tap Mode. Change the data-collection mode to Events with Entry.

- Enter the Name (Volume) and Units (drops). Select OK.

6.	You are now ready to perform the titration. This process goes faster if one person adds drops of NaOH solution while another person enters volumes.

- Start data collection.

- Before you have added any drops of NaOH solution, tap Keep and enter 0 as the NaOH volume, in drops. Select OK to store the first data pair for this experiment.

- Add one drop of NaOH solution. Be sure to hold the dropper bottle vertically to ensure that the drop size is uniform. CAUTION: Sodium hydroxide solution is caustic. Avoid spilling it on your skin or clothing. Stir with a toothpick to uniformly mix the solution. When the pH stabilizes, tap Keep and enter 1 as the number of drops of NaOH solution added. Select OK. You have now saved the second data pair for the experiment.

- Add a second drop of NaOH solution, stir. When the pH stabilizes, tap Keep and enter 2 as the number of drops of NaOH solution added. Select OK.

- Continue this procedure until 20 drops of NaOH solution have been added.

7.	Stop data collection.

8.	Examine the data on the graph of pH vs. drops to find the equivalence point—that is, the 1 drop volume increment that resulted in the largest increase in pH. As you tap each data point (or use the ► or ◄ keys on LabQuest), the pH and volume values are displayed. Go to the region of the graph with the large increase in pH. Find the NaOH volume (in drops) just before this jump. Record this value in the data table. Then record the NaOH volume after the drop producing the largest pH increase was added.

9.	Carefully loosen the pH Sensor from the utility clamp and dispose of the beaker contents as directed by your instructor. Thoroughly rinse out the microbeaker and the pH Sensor tip. Remove the microbeaker from the sensor. Rinse the sensor tip with distilled water and return it to the pH Sensor storage bottle.

10.	Print a copy of the graph of pH vs. volume. Then print a copy of the NaOH volume data and the pH data for the titration.

alternate equivalence point method

An alternate way of determining the precise equivalence point of the titration is to take the first and second derivatives of the pH-volume data.

1.	Determine the peak value on the first derivative vs. volume plot.

- Tap the Table tab. Choose New Calculated Column from the Table menu.

- Enter d1 as the Calculated Column Name. Select the equation, 1st derivative (Y,X). Use Volume as the Column for X, and pH as the Column for Y. Select OK.

- On the displayed plot of d1 vs. volume, examine the graph to determine the volume at the peak value of the first derivative.

2.	Determine the zero value on the second derivative vs. volume plot.

- Tap the Table tab. Choose New Calculated Column from the Table menu.

- Enter d2 as the Calculated Column Name. Select the equation, 2nd derivative (Y,X). Use Volume as the Column for X, and pH as the Column for Y. Select OK.

- On the displayed plot of d2 vs. volume, examine the graph to determine the volume when the 2nd derivative equals approximately zero.

Processing the data

1.	Use your printed graph to confirm the volume of NaOH titrant you recorded before and after the largest increase in pH values upon the addition of 1 drop of NaOH solution.

2.	Determine the volume of NaOH added at the equivalence point. To do this, add the two NaOH values determined above and divide by two (use 0.5 drop increments in your answer).

3.	Using the formula in the introduction of the experiment, calculate the concentration of the hydrochloric acid solution (in M or mol/L).

DATA and calulations TABLE

| Concentration of NaOH | M |
| --- | --- |
| NaOH volume added before the largest pH increase | drops |
| NaOH volume added after the largest pH increase | drops |

| Volume of NaOH added at equivalence point | drops |
| --- | --- |
| Concentration of HCl | M |

alternate equivalence point method

An alternate way of determining the precise equivalence point of the titration is to take the first and second derivatives of the pH-volume data.

1.	Determine the peak value on the first derivative vs. volume plot.

- Tap the Table tab. Choose New Calculated Column from the Table menu.

- Enter d1 as the Calculated Column Name. Select the equation, 1st derivative (Y,X). Use Volume as the Column for X, and pH as the Column for Y. Select OK.

- On the displayed plot of d1 vs. volume, examine the graph to determine the volume at the peak value of the first derivative.

2.	Determine the zero value on the second derivative vs. volume plot.

- Tap the Table tab. Choose New Calculated Column from the Table menu.

- Enter d2 as the Calculated Column Name. Select the equation, 2nd derivative (Y,X). Use Volume as the Column for X, and pH as the Column for Y. Select OK.

- On the displayed plot of d2 vs. volume, examine the graph to determine the volume when the 2nd derivative equals approximately zero.