Determining the Concentration
of a Solution:  Beer’s Law

The primary objective of this experiment is to determine the concentration of an unknown nickel (II) sulfate solution. You will be using the Colorimeter shown in Figure 1. In this device, red light from the LED light source will pass through the solution and strike a photocell. The NiSO4 solution used in this experiment has a deep green color. A higher concentration of the colored solution absorbs more light (and transmits less) than a solution of lower concentration. The Colorimeter monitors the light received by the photocell as either an absorbance or a percent transmittance value.

Figure 1

You are to prepare five nickel sulfate solutions of known concentration (standard solutions). Each is transferred to a small, rectangular cuvette that is placed into the Colorimeter. The amount of light that penetrates the solution and strikes the photocell is used to compute the absorbance of each solution. When a graph of absorbance vs. concentration is plotted for the standard solutions, a direct relationship should result, as shown in Figure 2. The direct relationship between absorbance and concentration for a solution is known as Beer’s law.

The concentration of an unknown NiSO4 solution is then determined by measuring its absorbance with the Colorimeter. By locating the absorbance of the unknown on the vertical axis of the graph, the corresponding concentration can be found on the horizontal axis (follow the arrows in Figure 1). The concentration of the unknown can also be found using the slope of the Beer’s law curve.

OBJECTIVES

In this experiment, you will

- Prepare NiSO4 standard solution.

- Use a Colorimeter to measure the absorbance value of each standard solution.

- Find the relationship between absorbance and concentration of a solution.

- Use the results of this experiment to determine the unknown concentration of another NiSO4 solution.

MATERIALS

| LabPro interface | two 10 mL pipets (or graduated cylinders) |
| --- | --- |
| Palm handheld | two 100 mL beakers |
| Data Pro program | pipet or pipet bulb |
| Vernier Colorimeter | distilled water |
| one cuvette | test tube rack |
| five 20 X 150 mm test tubes | stirring rod |
| 30 mL of 0.40 M NiSO4 | tissues (preferably lint-free) |
| 5 mL of NiSO4 unknown solution |  |

PROCEDURE

1.	Obtain and wear goggles! CAUTION: Be careful not to ingest any NiSO4 solution or spill any on your skin. Inform your teacher immediately in the event of an accident.

2.	Add about 30 mL of 0.40 M NiSO4 stock solution to a 100 mL beaker. Add about 30 mL of distilled water to another 100 mL beaker.

3.	Label four clean, dry, test tubes 1-4 (the fifth solution is the beaker of 0.40 M NiSO4). Pipet 2, 4, 6, and 8 mL of 0.40 M NiSO4 solution into Test Tubes 1-4, respectively. With a second pipet, deliver 8, 6, 4, and 2 mL of distilled water into Test Tubes 1-4, respectively. Thoroughly mix each solution with a stirring rod. Clean and dry the stirring rod between stirrings. Keep the remaining 0.40 M NiSO4 in the 100 mL beaker to use in the fifth trial. Volumes and concentrations for the trials are summarized below:

| Trial number | 0.40 M NiSO4 (mL) | Distilled H2O (mL) | Concentration (M) |
| --- | --- | --- | --- |
| 1 | 2 | 8 | 0.08 |
| 2 | 4 | 6 | 0.16 |
| 3 | 6 | 4 | 0.24 |
| 4 | 8 | 2 | 0.32 |
| 5 | ~10 | 0 | 0.40 |

4.	Plug the Colorimeter into Channel 1 of the LabPro interface. Connect the handheld to the LabPro using the interface cable. Firmly press in the cable ends.

5.	Prepare a blank by filling an empty cuvette ¾ full with distilled water. Seal the cuvette with a lid. To correctly use a Colorimeter cuvette, remember:

- All cuvettes should be wiped clean and dry on the outside with a tissue.

- Handle cuvettes only by the top edge of the ribbed sides.

- All solutions should be free of bubbles.

- Always position the cuvette with its reference mark facing toward the white reference mark at the top of the cuvette slot on the Colorimeter.

6.	Press the power button on the handheld to turn it on. To start Data Pro, tap the Data Pro icon on the Applications screen. Choose New from the Data Pro menu or tap  to reset the program.

7.	Set up the handheld and interface for the Colorimeter.

- Place the blank in the cuvette slot of the Colorimeter and close the lid.

- On the Main screen, tap .

- If the handheld displays ABSORBANCE in CH 1, press the < or > button on the Colorimeter to set the wavelength to 635 nm (Red). Then calibrate by pressing the CAL button on the Colorimeter. When the LED stops flashing, the calibration is complete. Proceed directly to Step 8. If the calculator does not display ABSORBANCE in CH 1, continue with this step to set up your sensor manually.

- On the Setup screen, tap , then choose COLORIMETER from the list of sensors.

- Tap , then tap .

First Calibration Point

- Turn the wavelength knob of the Colorimeter to the 0% T position. In the Value field enter “0” as the percent transmittance. You can enter this information using the onscreen keyboard (tap “123”), or by using the Graffiti writing area. When the voltage reading stabilizes, tap .

Second Calibration Point

- Turn the wavelength knob of the Colorimeter to the Red LED position (635 nm). Enter “100” as the percent transmittance. When the voltage reading stabilizes, tap .

- Tap  two times to return to the Setup screen.

8.	Set up the data-collection mode.

- On the Setup screen, tap , then choose Events with Entry.

- Enter the Entry Label (Conc) and Unit (mol/L). You can enter this information using the onscreen keyboard (tap “abc”), or by using the Graffiti writing area.

- Tap  twice to return to the Main screen.

9.	You are now ready to collect absorbance-concentration data for the five standard solutions.

- Tap  to begin data collection.

- Empty the water from the cuvette. Using the solution in Test Tube 1, rinse the cuvette twice with ~1 mL amounts and then fill it 3/4 full. Wipe the outside with a tissue, place it in the Colorimeter, and close the lid.

- When the value displayed on the handheld screen has stabilized, tap  and enter “0.080” as the concentration (using the numerical keyboard displayed on the screen). 
Tap . The absorbance and concentration values have now been saved for the first solution.

- Discard the cuvette contents as directed by your instructor. Using the solution in Test Tube 2, rinse the cuvette twice with ~1 mL amounts, and then fill it 3/4 full. After closing the lid, wait for the value displayed on the handheld screen to stabilize and tap . Enter “0.16” as the concentration in mol/L, and tap .

- Repeat the procedure for Test Tube 3 (0.24 M) and Test Tube 4 (0.32M), as well as the stock 0.40 M NiSO4. Note: Wait until Step 10 to do the unknown.

- Tap  when you have finished collecting data, then tap  to view a graph of absorbance vs. concentration.

- To examine the data pairs on the displayed graph, tap  or any data point. As you move the examine line, the absorbance and concentration values of each data point are displayed to the right of the graph. Record the absorbance and concentration data values in your data table (round to the nearest 0.001).

- Tap  to return to the Main screen.

10.	Determine the absorbance value of the unknown NiSO4 solution. To do this:

- Obtain about 5 mL of the unknown NiSO4 in another clean, dry, test tube. Record the number of the unknown in your data table.

- Rinse the cuvette twice with the unknown solution and fill it about 3/4 full. Wipe the outside of the cuvette, place it into the Colorimeter, and close the lid.

- Monitor the absorbance value displayed on the handheld screen. When this value has stabilized, record it in the Data Table.

11.	Discard the solutions as directed by your instructor. Proceed directly to Steps 1–2 of Processing the Data.

Processing the data

1.	To determine the concentration of the unknown NiSO4 solution, plot a graph of absorbance vs. concentration with a linear regression curve displayed, then interpolate along the regression line to convert the absorbance value of the unknown to concentration. To do this:

- Tap , then tap .

- From the Fit Equation menu, choose Linear. The linear-regression statistics for these two data columns are displayed for the equation in the form

y = ax + b

- where x is concentration, y is absorbance, a is the slope, and b is the y-intercept. Note: One indicator of the quality of your data is the size of b. It is a very small value if the regression line passes through or near the origin. The correlation coefficient, r, indicates how closely the data points match up with (or fit) the regression line. A value of 1.00 indicates a nearly perfect fit.

- Tap Interpolate on Fit to check it.

- Tap  to display the regression curve on the graph of absorbance vs. concentration. This graph should indicate a direct relationship between absorbance and concentration, a relationship known as Beer’s law. The regression line should closely fit the five data points and pass through (or near) the origin of the graph.

- Now interpolate along the regression curve to determine the concentration of the unknown solution. Tap , , or any point on the regression curve to move the interpolation line. Move it to the absorbance value that is closest to the absorbance reading you obtained in Step 9. The NiSO4 concentration, in mol/L, will be displayed to the lower right of the graph. Record this value in your data table.

2.	(optional) Print a graph of absorbance vs. concentration, with a regression line and interpolated unknown concentration displayed.

DATA and calculations

| Trial | Concentration (mol/L) | Absorbance |
| --- | --- | --- |
| 1 | 0.080 |  |
| 2 | 0.16 |  |
| 3 | 0.24 |  |
| 4 | 0.32 |  |
| 5 | 0.40 |  |
| 6 | Unknown number ____ |  |

| Concentration of unknown | mol/L |
| --- | --- |