Conductivity of Solutions:
The Effect of Concentration

If an ionic compound is dissolved in water, it dissociates into ions and the resulting solution will conduct electricity. Dissolving solid sodium chloride in water releases ions according to the equation:

NaCl(s)  Na+(aq) + Cl–(aq)

In this experiment, you will study the effect of increasing the concentration of an ionic compound on conductivity. Conductivity will be measured as concentration of the solution is gradually increased by the addition of concentrated NaCl drops. The same procedure will be used to investigate the effect of adding other solutions with the same concentration (1.0 M), but different numbers of ions in their formulas: aluminum chloride, AlCl3, and calcium chloride, CaCl2. A Conductivity Probe will be used to measure conductivity of the solution. Conductivity is measured in microsiemens per centimeter (µS/cm).

OBJECTIVES

In this experiment, you will

- Use a Conductivity Probe to measure the conductivity of solutions.

- Investigate the relationship between the conductivity and concentrations of a solution.

- Investigate the conductivity of solutions resulting from compounds that dissociate to produce different number of ions.

Figure 1

MATERIALS

| LabPro interface | 100 mL beaker |
| --- | --- |
| Palm handheld | distilled water |
| Data Pro program | wash bottle |
| Vernier Conductivity Probe | 1.0 M NaCl |
| ring stand | 1.0 M AlCl3 |
| utility clamp | 1.0 M CaCl2 |
| stirring rod |  |

PROCEDURE

1.	Obtain and wear goggles.

2.	Add 70 mL of distilled water to a clean 100 mL beaker. Obtain a dropper bottle that contains 1.0 M NaCl solution.

3.	Plug the Conductivity Probe into Channel 1 of the LabPro interface. Set the selector switch on the side of the Conductivity Probe to the 0-2000 µS/cm range. Connect the handheld to the LabPro using the interface cable. Firmly press in the cable ends.

4.	Press the power button on the handheld to turn it on. To start Data Pro, tap the Data Pro icon on the Applications screen. Choose New from the Data Pro menu or tap  to reset the program.

5.	Set up the handheld and interface for the Conductivity Probe.

- On the Main screen, tap .

- If the handheld displays CONDUCT(MICS) in CH 1, proceed directly to Step 6. If it does not, continue with this step to set up your sensor manually.

- Tap  to select Channel 1.

- Press the Scroll buttons on the handheld to scroll through the list of sensors.

- Select CONDUCT 2000(MICS) from the list of sensors.

6.	Set up the data-collection mode.

- On the Setup screen, tap , then choose Events with Entry.

- Enter the x-axis label (Volume) and unit (mL). You can enter this information using the onscreen keyboard (tap “abc”), or by using the Graffiti writing area.

- Tap  twice to return to the Main screen.

7.	Before adding any drops of solution:

- Tap  to begin data collection.

- Carefully raise the beaker and its contents up around the Conductivity Probe until the hole near the probe end is completely submerged in the solution being tested. Important: Since the two electrodes are positioned on either side of the hole, this part of the probe must be completely submerged.

- Before you have added any drops of NaCl solution, tap . Using the numerical keyboard displayed on the screen, enter “0”, the volume (in drops) on the handheld. Tap  to save this data pair for this experiment.

- Lower the beaker away from the probe.

8.	You are now ready to begin adding salt solution.

- Add 1 drop of NaCl solution to the distilled water. Stir to ensure thorough mixing.

- Carefully raise the beaker and its contents up around the Conductivity Probe until the hole near the probe end is completely submerged in the solution being tested.

- Briefly swirl the beaker contents. Monitor the conductivity of the solution for 4-5 seconds.

- When the conductivity readings stabilize, tap . Enter “1” as the volume in drops and then tap . The conductivity and volume values have now been saved for the second trial.

- Lower the beaker away from the probe.

9.	Repeat the Step 8 procedure, entering “2” this time.

10.	Continue this procedure, adding 1-drop portions of NaCl solution, measuring conductivity, and entering the total number of drops added—until a total of 8 drops has been added. Important: Because you are going to view three runs of data in Step 16, it is necessary to enter the same number of trials (0-8 drops) in each run.

11.	Press  when you have finished collecting data, then tap  to view a graph of conductivity vs. volume.

12.	To analyze the relationship between conductivity and volume, use this method to calculate the linear-regression statistics for your data. Then plot the linear regression curve on your graph.

- Tap , then tap .

- Choose CH1: CONDUCT(MICS) as the data to fit. Then, choose Linear as the Fit Equation. The linear-regression statistics for these two lists are displayed for the equation in the form

y=ax+b

- where y is conductivity, x is volume, a is the slope, and b is the y-intercept. Record the value for the slope, a, in your data table.

- To display the linear-regression curve on the graph of conductivity vs. volume, tap . Note: Since increasing the volume (drops) of NaCl increases the concentration of NaCl in the solution, the graph actually represents the relationship between conductivity and concentration.

- Tap  to return to the Graph screen.

13.	On the Graph screen, tap  to store your data so that it can be viewed later.

14.	Repeat Steps 7-13, this time using 1.0 M AlCl3 solution in place of 1.0 M NaCl solution.

15.	Repeat Steps 7-12, this time using 1.0 M CaCl2 solution. Important: Do not store this run as you did in the first two runs—proceed directly to Step 16 after you complete Step 12.

16.	To view a graph of concentration vs. volume showing all three data runs, tap Run 3 (above the graph), and choose All Runs. All three runs will now be displayed on the same graph axes. Each point of Run 1 is plotted with an open box, each point of Run 2 is plotted with a closed dot, and each point of Run 3 is plotted with an open triangle.

17.	(optional) Print a copy of the graph displayed in Step 16. Label each run as “1.0 M NaCl,” 
“1.0 M AlCl3,” or “1.0 M CaCl2”.

Processing the data

1.	Describe the appearance of each of the three curves on your graph in Step 16.

2.	Describe the change in conductivity as the concentration of the NaCl solution was increased by the addition of NaCl drops. What kind of mathematical relationship does there appear to be between conductivity and concentration?

3.	Write a chemical equation for the dissociation of NaCl, AlCl3, and CaCl2 in water.

4.	Which graph had the largest slope value? The smallest? Since all solutions had the same original concentration (1.0 M), what accounts for the difference in the slope of the three plots? Explain.

DATA TABLE

| Solution | Slope, m |
| --- | --- |
| 1.0 M NaCl |  |
| 1.0 M AlCl3 |  |
| 1.0 M CaCl2 |  |