Rate Law Determination of
the Crystal Violet Reaction

In this experiment, you will observe the reaction between crystal violet and sodium hydroxide. One objective is to study the relationship between concentration of crystal violet and the time elapsed during the reaction. The equation for the reaction is shown here:

Figure 1

A simplified (and less intimidating!) version of the equation is:

CV+    +    OH–(aq)        CVOH

(crystal violet)   (hydroxide)

The rate law for this reaction is in the form: rate = k[CV+]m[OH–]n, where k is the rate constant for the reaction, m is the order with respect to crystal violet (CV+), and n is the order with respect to the hydroxide ion. Since the hydroxide ion concentration is more than 5000 times as large as the concentration of crystal violet, [OH–] will not change appreciably during this experiment. Thus, you will find the order with respect to crystal violet (m), but not the order with respect to hydroxide (n).

As the reaction proceeds, a violet-colored reactant will be slowly changing to a colorless product. Using the green (565 nm) light source of a Colorimeter, you will monitor the absorbance of the crystal violet solution with time. We will assume that absorbance is proportional to the concentration of crystal violet (Beer’s law). Absorbance will be used in place of concentration in plotting the following three graphs:

- Absorbance vs. time:	A linear plot indicates a zero order reaction (k = –slope).

- ln Absorbance vs. time:	A linear plot indicates a first order reaction (k = –slope).

- 1/Absorbance vs. time:	A linear plot indicates a second order reaction (k = slope).

Once the order with respect to crystal violet has been determined, you will also be finding the rate constant, k, and the half-life for this reaction.

OBJECTIVES

In this experiment, you will

- Observe the reaction between crystal violet and sodium hydroxide.

- Use a Colorimeter to monitor the absorbance of the crystal violet solution with time.

- Graph Absorbance vs. time, ln Absorbance vs. time, and 1/Absorbance vs. time.

- Determine the order of the reaction.

- Determine the rate constant, k, and the half-life for this reaction.

MATERIALS

| LabPro interface | 0.10 M NaOH |
| --- | --- |
| Palm handheld | 2.5 X 10–5 M crystal violet solution |
| Data Pro program | distilled water |
| Vernier Colorimeter | stirring rod |
| one plastic cuvette | test tube rack |
| 100 mL beaker |  |

PROCEDURE

1.	Obtain and wear goggles.

2.	Use a 10 mL graduated cylinder to obtain 10.0 mL of 0.10 M NaOH solution. CAUTION: Sodium hydroxide solution is caustic. Avoid spilling it on your skin or clothing. Use another 10 mL graduated cylinder to obtain 10.0 mL of 2.5 X 10-5 M crystal violet solution. CAUTION: Crystal violet is a biological stain. Avoid spilling it on your skin or clothing.

3. 	Plug the Colorimeter into Channel 1 of the LabPro interface. Connect the handheld to the LabPro using the interface cable. Firmly press in the cable ends.

4.	Prepare a blank by filling an empty cuvette ¾ full with distilled water. Seal the cuvette with a lid. To correctly use a Colorimeter cuvette, remember:

- All cuvettes should be wiped clean and dry on the outside with a tissue.

- Handle cuvettes only by the top edge of the ribbed sides.

- All solutions should be free of bubbles.

- Always position the cuvette with its reference mark facing toward the white reference mark at the top of the cuvette slot on the Colorimeter.

5.	Press the power button on the handheld to turn it on. To start Data Pro, tap the Data Pro icon on the Applications screen. Choose New from the Data Pro menu or tap  to reset the program.

6.	Set up the handheld and interface for the Colorimeter.

- Place the blank in the cuvette slot of the Colorimeter and close the lid.

- On the Main screen, tap .

- If the handheld displays ABSORBANCE in CH 1, press the < or > button on the Colorimeter to set the wavelength to 565 nm (Green). Then calibrate by pressing the CAL button on the Colorimeter. When the LED stops flashing, the calibration is complete. Proceed directly to Step 7. If the calculator does not display ABSORBANCE in CH 1, continue with this step to set up your sensor manually.

- On the Setup screen, tap , then choose COLORIMETER from the list of sensors.

- Tap , then tap .

First Calibration Point

- Turn the wavelength knob of the Colorimeter to the 0% T position. In the Value field enter “0” as the percent transmittance. You can enter this information using the onscreen keyboard (tap “123”), or by using the Graffiti writing area. When the voltage reading stabilizes, tap .

Second Calibration Point

- Turn the wavelength knob of the Colorimeter to the Green LED position (565 nm). Enter “100” as the percent transmittance. When the voltage reading stabilizes, tap .

- Tap  two times to return to the Setup screen.

7.	Setup the handheld and interface for data collection.

- While still on the Setup screen, tap .

- Enter “4” as the time between samples in seconds, using the onscreen keyboard (tap “123”) or using the Graffiti writing area.

- Enter “45” as the number of samples. (Data will be collected for 3 minutes.)

- Tap  twice to return to the Main screen.

8.	You are now ready to begin monitoring data.

- To initiate the reaction, simultaneously pour the 10 mL portions of crystal violet and sodium hydroxide into a 100 mL beaker and stir the reaction mixture with a stirring rod.

- Empty the water from the cuvette. Rinse the cuvette with ~1 mL of the reaction mixture and then fill it 3/4 full.

- Place the cuvette in the cuvette slot of the Colorimeter and close the lid.

- Monitor the absorbance reading on the main screen of the handheld for about 10 seconds (the absorbance reading should be gradually decreasing), then tap  to begin data collection.

- During the 3 minute data collection, observe the solution in the beaker as it continues to react.

- Data collection will end after 3 minutes

- Discard the contents of the beaker and cuvette as directed by your teacher.

9.	Analyze the data graphically to decide if the reaction is zero, first, or second order with respect to crystal violet:

- Zero Order: If the current graph of absorbance vs. time is linear, the reaction is zero order.

- First Order: To see if the reaction is first order, it is necessary to plot a graph of the natural logarithm (ln) of absorbance vs. time. If this plot is linear, the reaction is first order.

- Second Order: To see if the reaction is second order, plot a graph of the reciprocal of absorbance vs. time. If this plot is linear, the reaction is second order.

Follow these directions to create a column of the natural log (ln) of absorbance. To do this, it is necessary to create a new data lists based on your original volume data.

- Tap  to go to the Data screen.

- Tap .

- Enter the Column Name (ln Abs) and leave the Units field blank. Tap  and choose the formula, A*lnX. Choose Absorbance as the column for X, enter a value of “1” for A. Tap  to display the graph of ln Abs vs. time.

10.	Follow this procedure to plot a best-fit regression line on your graph of ln absorbance vs. time:

- Tap , then tap .

- From the Fit Equation menu, choose Linear. The linear-regression statistics for these two data columns are displayed for the equation in the form

y = ax + b

- where x is time, y is absorbance, a is the slope, and b is the y-intercept. Note: One indicator of the quality of your data is the size of b. It is a very small value if the regression line passes through or near the origin. The correlation coefficient, r, indicates how closely the data points match up with (or fit) the regression line. A value of 1.00 indicates a nearly perfect fit.

- Tap  to display the regression curve on the graph of ln Abs vs. time.

11.		Follow these direction to create a calculated column, 1/Absorbance.

- Tap  to go to the Graph screen.

- Tap  in the upper-left of the screen to view the data lists.

- Tap . From the list, choose New Column.

- Enter the Column Name (l/Abs) and leave the Units field blank. Tap  and choose the formula, A/X. Choose Absorbance as the column for X, enter a value of “1” for A. Tap  to display the graph of 1/Abs vs. time.

12.		Repeat Step 10 to plot a best-fit regression line on the graph of 1/Absorbance vs. concentration.

Processing the data

1.	Was the reaction zero, first, or second order, with respect to the concentration of crystal violet? Explain.

2.	Calculate the rate constant, k, using the slope of the linear regression line for your linear curve (k = –slope for zero and first order and k = slope for second order). Be sure to include correct units for the rate constant. Note: This constant is sometimes referred to as the pseudo rate constant, because it does not take into account the effect of the other reactant, OH–.

3.	Write the correct rate law expression for the reaction, in terms of crystal violet (omit OH–).

4.	Using the printed data table, estimate the half-life of the reaction; select two points, one with an absorbance value that is about half of the other absorbance value. The time it takes the absorbance (or concentration) to be halved is known the half-life for the reaction. (As an alternative, you may choose to calculate the half-life from the rate constant, k, using the appropriate concentration-time formula.)