Schoolyard Study

Our environment is important to all of us. In this activity you will investigate your schoolyard as an environment. Scientists study large areas by looking at samples. One way to sample an environment is to look at data along a straight line called a transect. In this experiment, you will gather data along a transect in your schoolyard.

OBJECTIVES

In this experiment, you will

- Measure ground and air temperatures at various locations along a transect.

- Measure the light intensity at the same locations.

- Observe and classify the living organisms at those locations.

- Determine if there are temperature differences between the ground and air above it.

- Organize and present your results.

MATERIALS

| LabPro or CBL 2 interface | 10 meters of string |
| --- | --- |
| TI graphing calculator | meter stick |
| DataMate program | ruler |
| Temperature Probe | 2 rubber bands |
| Light Sensor |  |

PROCEDURE

Part I  Making a Transect

1.	Make your transect.

- Stretch 10 meters of string in a straight line across an area of your schoolyard. You will be collecting data along this line called a transect. Choose a stretch with as many different conditions as possible (e.g., shade vs. sun, asphalt vs. grass).

- In the data table, write a description of each location you choose to study along the transect.

- Record observations of any living things you see at the chosen locations.

- Measure and record the distance (in m) from the beginning of your string to each location.

2.	In the space provided on Page 8-3, make a sketch of your transect. Label each location on the sketch.

Part II  Measuring Temperature

3.	Plug the Temperature Probe into Channel 1 of the LabPro or CBL 2 interface. Use the link cable to connect the TI graphing calculator to the interface. Firmly press in the cable ends.

4.	Turn on the calculator and start the DATAMATE program. Press  to reset the program.

5.	Set up the calculator and interface for the Temperature Probe.

- If the calculator displays TEMP (C) in CH 1, proceed directly to Step 6. If it does not, continue with this step to set up your sensor manually.

- Select SETUP from the main screen.

- Press  to select CH 1.

- Select TEMPERATURE from the SELECT SENSOR menu.

- Select the correct Temperature Probe (in °C) from the TEMPERATURE menu.

- Select OK to return to the main screen. The temperature reading is now displayed at the top of the main screen.

6.	Measure the surface temperature at one end of your string. Place the tip of the Temperature Probe on the ground. Wait for the temperature reading on the calculator screen to stabilize before recording it. Note: If there is direct sunlight on the probe tip during data collection, the readings will be too high. To prevent this, use your hand to shade the tip of the probe.

7.	Fasten the Temperature Probe to a ruler using two rubber bands as shown in Figure 1. The probe tip should be at the 5 cm mark on the ruler. Measure the temperature 5 cm above the surface at the same location. Wait for the temperature reading in the upper right corner the calculator screen to stabilize before recording it.

Figure 1

8.	Repeat Steps 6–7 for each location you chose in Step 1.

Part III  Measuring Reflected Light Intensity

9.	Plug the Light Sensor into Channel 1 of the interface. Note: If you are using the Vernier Light Sensor, set it to the 0–150,000 lux position.

10.	Set up the calculator and interface for the Light Sensor.

- If the calculator displays a Light Sensor in CH 1, proceed directly to Step 11. If it does not, continue with this step to set up your sensor manually.

- Select SETUP from the main screen.

- Press  to select CH 1.

- Select LIGHT from the SELECT SENSOR menu.

- Select LIGHT 150000(LX) from the LIGHT menu.

- Select OK to return to the main screen.

11.	Using two rubber bands, fasten the Light Sensor to the ruler as shown in Figure 2. The tip of the sensor should be at the 5 cm mark.

Figure 2

12.	Measure and record the intensity of the reflected light 5 cm above each location you chose in Step 1. Make sure that neither you nor the ruler shade the area below the Light Sensor.

SKETCH OF TRANSECT

DATA

| Distance (m) | Description | Temperature (at surface) (°C) | Temperature (at 5 cm) (°C) | Temperature difference (°C) | Light intensity (lux) |
| --- | --- | --- | --- | --- | --- |

PROCESSING THE DATA

1.	In the space provided in the data table, subtract to find the difference between the temperature on the surface and the temperature 5 cm above the surface at each location.

2.	Which location had the greatest difference between its two temperatures? The smallest difference?

3.	Give possible reasons for the results in Question 2.

4.	Which location had the highest reflectivity? The lowest?

5.	Give possible reasons for the results in Question 4.

6.	Look at your reflectivity and temperature data. Do your results follow a pattern? Explain.

7.	Prepare a poster that presents your results.

EXTENSIONS

1.	Prepare one or more bar graphs from your data.

2.	Do additional transects in different areas and compare results.

3.	Include a pH study of the soils along your transect.