A Water Field Study

When finding water quality, there are many measurements that can be made. In this experiment, you will measure water temperature, conductivity, and pH. Water temperatures in streams can range from 0C in the winter to above 30C in the summer. Cooler water in a stream is generally considered healthier than warmer water. Problems generally occur when changes in water temperature are noted along one stream on the same day. Some sample data are listed in Table 1.

| Table 1: Water Temperatures of Selected Rivers |  |  |  |  |
| --- | --- | --- | --- | --- |
| Site | Season | Temperature (°C) | Season | Temperature (°C) |
| Hudson River, Poughkeepsie, NY | Winter | 5 | Summer | 25 |
| Mississippi River, Memphis, TN | Winter | 7 | Summer | 29 |
| Rio Grande, El Paso, TX | Winter | 16 | Summer | 21 |
| Missouri River, Garrison Dam, ND | Winter | 3 | Summer | 14 |
| Willamette River, Portland, OR | Winter | 9 | Summer | 22 |

Conductivity values in lakes and streams are typically found to be in the range of 100 to 500 µS/cm. In areas of especially hard water or high salinity, conductivity values may be as high as 1000 µS/cm. Drinking water usually has conductivity in the 50 to 1000 µS/cm range. Some sample data are listed in Table 2.

| Table 2: Conductivity in Selected Rivers |  |  |  |  |
| --- | --- | --- | --- | --- |
| Site | Season | Conductivity (µS/cm) | Season | Conductivity (µS/cm) |
| Hudson River, Poughkeepsie, NY | Spring | 180 | Fall | 238 |
| Mississippi River, Memphis, TN | Spring | 266 | Fall | 440 |
| Rio Grande, El Paso, TX | Spring | 1020 | Fall | 1220 |
| Sacramento River, Keswick, CA | Spring | 142 | Fall | 120 |
| Ohio River, Benwood, WV | Spring | 600 | Fall | 286 |

The best pH range for most aquatic organisms is pH 6.5 to 8.2. The pH values of streams and lakes are usually between pH 7 and 8. Hard water will often have pH values between 7.5 and 8.5.

When doing this experiment, you might choose to compare water quality at two or more points on the same stream, in two or more different streams or lakes, or in a lake and a stream that runs into it.

OBJECTIVES

In this experiment, you will

- Use a Temperature Probe to measure water temperature.

- Use a Conductivity Probe to measure the conductivity of water.

- Use a pH Sensor to measure the pH of water.

- Make visual observations at the test sites.

- Compare water quality.

MATERIALS

| LabPro or CBL 2 interface | Vernier Conductivity Probe |
| --- | --- |
| TI graphing calculator | Vernier pH Sensor |
| DataMate program | colorless plastic bottle |
| Temperature Probe | plastic cup or beaker |

Figure 1

PROCEDURE

Part I  Measuring Temperature

1.	Plug the Temperature Probe into Channel 1 of the LabPro or CBL 2 interface. Use the link cable to connect the TI graphing calculator to the interface. Firmly press in the cable ends.

2.	Turn on the calculator and start the DATAMATE program. Press  to reset the program.

3.	Set up the calculator and interface for the Temperature Probe.

- If the calculator displays the correct Temperature Probe in CH 1, proceed directly to Step 4. If it does not, continue with this step to set up your sensor manually.

- Select SETUP from the main screen.

- Press  to select CH 1.

- Select TEMPERATURE from the SELECT SENSOR menu.

- Select the correct Temperature Probe (in °C) from the TEMPERATURE menu.

- Select OK to return to the main screen. The temperature reading is now displayed at the top of the main screen.

4.	Fill the plastic bottle with water taken below the water surface at a point one meter from the shore. CAUTION: Take all necessary precautions to ensure your safety!

5.	Measure the water temperature.

- Place the Temperature Probe into the sample.

- Gently move the probe in the water and note the temperature reading displayed at the top of the main screen.

- When the temperature stops changing, record the reading.

Part II  Measuring Conductivity

6.	Plug the Conductivity Probe into Channel 1 of the interface. Set the Conductivity Probe on the 0–2000 µS/cm position.

7.	Set up the calculator and interface for the Conductivity Probe.

- If the calculator displays CONDUCT(MICS) in CH 1, proceed directly to Step 8. If it does not, continue with this step to set up your sensor manually.

- Select SETUP from the main screen.

- Press  to select CH 1.

- Select CONDUCTIVITY from the SELECT SENSOR menu.

- Select CONDUCT 2000 (MICS) from the CONDUCTIVITY menu.

- Select OK to return to the main screen. The conductivity reading is now displayed at the top of the main screen.

8.	Measure the conductivity of the same water sample.

- Place the Conductivity Probe into the water. Briefly swirl the probe in the water.

- Once the conductivity is steady, record the reading.

Part III  Measuring pH

9.	Plug the pH Sensor into Channel 1 of the interface.

10.	Set up the calculator and interface for the pH Sensor.

- If the calculator displays PH in CH 1, proceed directly to Step 11. If it does not, continue with this step to set up your sensor manually.

- Select SETUP from the main screen.

- Press  to select CH 1.

- Select PH from the SELECT SENSOR menu.

- Select OK to return to the main screen. The pH reading is now displayed at the top of the main screen.

11.	Measure the pH of the same water sample.

- Remove the pH Sensor from its protective container and store the container safely aside.

- Rinse the pH Sensor using a plastic cup or beaker and water from the site.

- Place the pH Sensor into the water sample. Briefly swirl the pH Sensor in the water.

- Once the pH is steady, record the reading. Return the pH Sensor to its container.

12.	Note and record the clarity (clearness) of the water sample.

13.	Make and record other observations (concerning algae, plants, water “critters,” animals, flow rate, etc.) related to water quality at the site.

14.	Repeat Steps 1–13 at one or more other sites.

DATA AND OBSERVATIONS

| Site |  |  |
| --- | --- | --- |
| Temperature (°C) |  |  |
| Conductivity (µS/cm) |  |  |
| pH |  |  |
| Clarity |  |  |
| Other observations |  |  |

PROCESSING THE DATA

1.	How did the water quality at the different sites compare?

2.	What differences did you find? Explain the differences.

3.	What similarities did you find? Explain the similarities.

4.	At which site was the water “best”? Explain why it was the best.

5.	What new ideas for testing water quality did you come up with while doing this experiment?

EXTENSIONS

1.	Test water quality at the same site at different times.

2.	Test the effects of rain or snow on water quality.

3.	Test water quality at sites upstream and downstream from a wastewater treatment plant.