Relative Humidity

Relative humidity is a measure of the amount of water vapor in the air at a particular temperature compared with the total amount of water the air can hold at the same temperature. In this experiment, you will use a calculator to determine relative humidity at several places inside and outside your school.

OBJECTIVES

In this experiment, you will

- Measure temperature.

- Determine relative humidity.

- Explain your results.

Figure 1

Choosing a Data-Collection Method

- Method 1–Use this method if you are using EasyTemp or a Temperature Probe with an EasyLink.

- Method 2–Use this method if you are using a LabPro or CBL 2 data-collection interface with two Temperature Probes.

METHOD 1: Using EasyTemp or EasyLink

MATERIALS

| TI-84 Plus graphing calculator | piece of shoelace, 5 cm long |
| --- | --- |
| EasyData application | masking tape |
| EasyTemp or | beaker |
| Temperature Probe and EasyLink | water |

PROCEDURE

1.	Turn on the calculator. Connect the EasyTemp to the calculator. (If you are using an EasyLink, plug the Temperature Probe into the EasyLink and then connect the EasyLink to the calculator.)

2.	Set up EasyData for data collection.

- Start the EasyData application, if it is not already running.

- Select  from the Main screen, and then select New to reset the application.

3.	Determine the dry probe temperature at Site 1 (the classroom).

- Take the probe in your hand and gently wave it in the air.

- Continue waving the probe until the temperature measured by the probe stops changing.

- In your data table, record the final temperature as the dry-probe temperature.

4.	Record the wet probe temperature.

- Slip the probe into a 5 cm piece of shoelace until the probe tip is at the middle of the shoelace piece. Fasten the shoelace to the probe with masking tape as shown in Figure 1.

- Wet the shoelace by placing it into a beaker of water that is at or above room temperature.

- Take the probe in your hand and gently wave it in the air.

- Continue waving the probe until the temperature measured by the probe stops changing.

- Record the final temperature as the wet-probe temperature.

5.	Collect data at another location inside your school.

- Move to another location inside your school and allow enough time for the Temperature Probe to adjust to the temperature at the new location before beginning data collection.

- Repeat Steps 3–4.

6.	Repeat Step 5 outside your school. Use water that is at or above the air temperature at the outside location. (For example: If the outside air temperature is 22°C, the water temperature must be 22°C or higher.)

METHOD 2: Using LabPro or CBL 2

MATERIALS

| TI-83 Plus or TI-84 Plus graphing calculator | piece of shoelace, 5 cm long |
| --- | --- |
| EasyData application | masking tape |
| data-collection interface | beaker |
| 2 Temperature Probes | water |

PROCEDURE

1.	Turn on the calculator and connect it to the data-collection interface. Connect Temperature Probe 1 to Channel 1 of the interface. Connect Temperature Probe 2 to Channel 2.

2.	Set up EasyData for data collection.

- a.	Start the EasyData application, if it is not already running.

- b.	Select  from the Main screen, and then select New to reset the application.

3.	Slip Probe 2 into a 5 cm piece of shoelace until the probe tip is at the middle of the shoelace piece. Fasten the shoelace to the probe with masking tape as shown in Figure 1.

4.	Determine the dry probe and wet probe temperatures at Site 1 (the classroom).

- Wet the shoelace on Probe 2 by placing it into a beaker of water that is at or above room temperature. Probe 1 is to stay dry.

- Take a probe in each hand and gently wave the probes in the air.

- Continue waving the probes until the temperatures measured by both probes stop changing.

- In your data table, record both final temperatures.

5.	Repeat Step 4 at another location inside your school. Be sure to resoak the shoelace on Probe 2 when you are at the new location. Allow enough time for the Temperature Probes to adjust to the temperature at the new location before beginning data collection.

6.	Repeat Step 5 outside your school. Use water that is at or above the air temperature at the outside location. (For example: If the outside air temperature is 22°C, the water temperature must be 22°C or higher.)

TABLE 1  Relative Humidity

| Dry Probe | Dry Probe Temperature Minus Wet Probe Temperature (C) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Temperature | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| 10C | 88 | 77 | 66 | 55 | 44 | 34 | 24 | 15 | 6 |  |
| 11C | 89 | 78 | 67 | 56 | 46 | 36 | 27 | 18 | 9 |  |
| 12C | 89 | 78 | 68 | 58 | 48 | 39 | 29 | 21 | 12 |  |
| 13C | 89 | 79 | 69 | 59 | 50 | 41 | 32 | 22 | 15 | 7 |
| 14C | 90 | 79 | 70 | 60 | 51 | 42 | 34 | 26 | 18 | 10 |
| 15C | 90 | 80 | 71 | 61 | 53 | 44 | 36 | 27 | 20 | 13 |
| 16C | 90 | 81 | 71 | 63 | 54 | 46 | 38 | 30 | 23 | 15 |
| 17C | 90 | 81 | 72 | 64 | 55 | 47 | 40 | 32 | 25 | 18 |
| 18C | 91 | 82 | 73 | 65 | 57 | 49 | 41 | 34 | 27 | 20 |
| 19C | 91 | 82 | 74 | 65 | 58 | 50 | 43 | 36 | 29 | 22 |
| 20C | 91 | 83 | 74 | 67 | 59 | 53 | 46 | 39 | 32 | 26 |
| 21C | 91 | 83 | 75 | 67 | 60 | 53 | 46 | 39 | 32 | 26 |
| 22C | 92 | 83 | 76 | 68 | 61 | 54 | 47 | 40 | 34 | 28 |
| 23C | 92 | 84 | 76 | 69 | 62 | 55 | 48 | 42 | 36 | 30 |
| 24C | 92 | 84 | 77 | 69 | 62 | 56 | 49 | 43 | 37 | 31 |
| 25C | 92 | 84 | 77 | 70 | 63 | 57 | 50 | 44 | 39 | 33 |
| 26C | 92 | 85 | 78 | 71 | 64 | 58 | 51 | 46 | 40 | 34 |
| 27C | 92 | 85 | 78 | 71 | 65 | 58 | 51 | 46 | 40 | 34 |
| 28C | 93 | 85 | 78 | 72 | 65 | 59 | 53 | 48 | 42 | 37 |
| 29C | 93 | 86 | 79 | 72 | 66 | 60 | 54 | 49 | 43 | 38 |
| 30C | 93 | 86 | 79 | 73 | 67 | 61 | 55 | 50 | 44 | 39 |

DATA

|  | Site 1 | Site 2 | Site 3 |
| --- | --- | --- | --- |
|  | Classroom | _____________ | _____________ |
| Dry probe temperature | °C | °C | °C |
| Wet probe temperature | °C | °C | °C |
| Temperature difference | °C | °C | °C |
| Relative humidity | % | % | % |

PROCESSING THE DATA

1.	In the space provided in the data table, subtract to find the difference between the dry-probe and wet-probe temperatures at each site.

2.	Determine the relative humidity at each site using the Relative Humidity table above.

- Find the temperature difference you calculated in Step 1 at the top of the table. Keep one finger on this number.

- Find the dry probe temperature in the first column of the table.

- Look across the row until you find the column marked with your finger. This is the relative humidity.

- Record this number in your data table.

3.	How did the wet probe temperature compare with the dry probe temperature at each site? Explain.

4.	Which site had the highest relative humidity? Why?

5.	Which site had the lowest relative humidity? Explain.

EXTENSIONS

1.	Compare relative humidity values at sunny and shaded sites outdoors.

2.	Compare relative humidity values at breezy and protected sites outdoors.