Relative Humidity

Relative Humidity is a measure of the amount of water vapor in the air at a particular temperature compared with the total amount of water the air can hold at the same temperature. In this experiment, you will determine relative humidity at several places inside and outside your school.

OBJECTIVES

In this experiment, you will

- Use a computer to measure temperature.

- Determine relative humidity.

- Explain your results.

Figure 1

MATERIALS

| computer | masking tape |
| --- | --- |
| Vernier computer interface | beaker |
| 2 Temperature Probes | water |
| piece of shoelace, 5 cm long |  |

Choosing a Method

- Method 1 should be used if you are using Go! products or a battery-powered LabPro interface with a laptop computer.

- Method 2 should be used if you are using a LabPro interface with a desktop computer.

METHOD 1: Interface Remains Attached to Computer

1.	Slip Probe 2 into a 5 cm piece of shoelace until the probe tip is at the middle of the shoelace piece as shown in Figure 1. Fasten the shoelace to the probe with masking tape.

2.	Connect the Temperature Probes. Start the Vernier data-collection program and open the file “04 Relative Humidity” from the Middle School Science with Vernier folder.

3.	Wet the shoelace on Probe 2 by placing it into a beaker of water that is at or above room temperature. Probe 1 is to stay dry.

4.	Click  to begin data collection. Take a probe in each hand and gently wave the probes in the air.

5.	Continue waving the probes until the temperatures measured by both probes stop changing, and then click  to end data collection. Record both final temperatures.

6.	Choose Store Latest Run from the Experiment menu to store your data.

7.	Repeat Steps 3–6 at another location inside your school. Be sure to resoak the shoelace on Probe 2 when you are at the new location. Allow approximately one minute for the Temperature Probes to adjust to the temperature at the new location before beginning data collection.

8.	Repeat Step 3–5 outside your school at a third location. Use water that is at or above the air temperature at the outside location. (For example: If the outside air temperature is 22°C, the water temperature must be 22°C or higher.)

METHOD 2: Using LabPro Remotely

Note: You must use Logger Pro software and a LabPro to collect data remotely. Logger Lite and Go! products do not support remote data collection.

1.	Slip Probe 2 into a 5 cm piece of shoelace until the probe tip is at the middle of the shoelace piece as shown in Figure 1. Fasten the shoelace to the probe with masking tape.

2.	Connect the Temperature Probes. Start Logger Pro and open the file “04 Relative Humidity” from the Middle School Science with Vernier folder.

3.	Wet the shoelace on Probe 2 by placing it into a beaker or cup of water that is at or above room temperature. Probe 1 is to stay dry.

4.	Click  to begin data collection. Take a probe in each hand and gently wave the probes in the air.

5.	Continue waving the probes until the temperatures measured by both probes stop changing. Then click  to end data collection. Record both final temperatures.

6.	Choose Store Latest Run from the Experiment menu to store your data.

7.	Choose Remote  Remote Setup from the Experiment menu. A summary of your setup will be displayed.

8.	Disconnect LabPro from the computer cable and go to your second site. Take a cup water with you to resoak the shoelace. Two Important Notes: (1) Be very careful not to press the START/STOP button on LabPro until you are ready to begin collecting data, and (2) do not close the Logger Pro computer program.

9.	Resoak the shoelace on Probe 2 when you are at the new location. Allow approximately one minute for the Temperature Probes to adjust to the temperature at the new location before beginning data collection.

10.	When everything is ready, press the START/STOP button on the LabPro interface. The green light on LabPro should begin to blink. Take a probe in each hand and gently wave the probes in the air. Continue waving the probes for 5 minutes (the green light will stop blinking when data collection ends).

11.	When data collection is finished, go back to the computer and reattach the interface. If a Remote Data Available window appears, simply click the YES button and choose to retrieve remote data into the current file. If a window does not appear when the interface is reconnected, choose Remote  Retrieve Remote Data from the Experiment menu.

12.	Choose Store Latest Run from the Experiment menu to store your data.

13.	Repeat Steps 7–11 for a third site. If this site is at an outside location, be sure to use water that is at or above the air temperature. (For example: If the outside air temperature is 22°C, the water temperature must be 22°C or higher.)

TABLE 1  Relative Humidity

| Dry Probe | Dry Probe Temperature Minus Wet Probe Temperature (C) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Temperature | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| 10C | 88 | 77 | 66 | 55 | 44 | 34 | 24 | 15 | 6 |  |
| 11C | 89 | 78 | 67 | 56 | 46 | 36 | 27 | 18 | 9 |  |
| 12C | 89 | 78 | 68 | 58 | 48 | 39 | 29 | 21 | 12 |  |
| 13C | 89 | 79 | 69 | 59 | 50 | 41 | 32 | 22 | 15 | 7 |
| 14C | 90 | 79 | 70 | 60 | 51 | 42 | 34 | 26 | 18 | 10 |
| 15C | 90 | 80 | 71 | 61 | 53 | 44 | 36 | 27 | 20 | 13 |
| 16C | 90 | 81 | 71 | 63 | 54 | 46 | 38 | 30 | 23 | 15 |
| 17C | 90 | 81 | 72 | 64 | 55 | 47 | 40 | 32 | 25 | 18 |
| 18C | 91 | 82 | 73 | 65 | 57 | 49 | 41 | 34 | 27 | 20 |
| 19C | 91 | 82 | 74 | 65 | 58 | 50 | 43 | 36 | 29 | 22 |
| 20C | 91 | 83 | 74 | 67 | 59 | 53 | 46 | 39 | 32 | 26 |
| 21C | 91 | 83 | 75 | 67 | 60 | 53 | 46 | 39 | 32 | 26 |
| 22C | 92 | 83 | 76 | 68 | 61 | 54 | 47 | 40 | 34 | 28 |
| 23C | 92 | 84 | 76 | 69 | 62 | 55 | 48 | 42 | 36 | 30 |
| 24C | 92 | 84 | 77 | 69 | 62 | 56 | 49 | 43 | 37 | 31 |
| 25C | 92 | 84 | 77 | 70 | 63 | 57 | 50 | 44 | 39 | 33 |
| 26C | 92 | 85 | 78 | 71 | 64 | 58 | 51 | 46 | 40 | 34 |
| 27C | 92 | 85 | 78 | 71 | 65 | 58 | 51 | 46 | 40 | 34 |
| 28C | 93 | 85 | 78 | 72 | 65 | 59 | 53 | 48 | 42 | 37 |
| 29C | 93 | 86 | 79 | 72 | 66 | 60 | 54 | 49 | 43 | 38 |
| 30C | 93 | 86 | 79 | 73 | 67 | 61 | 55 | 50 | 44 | 39 |

DATA

|  | Site 1 | Site 2 | Site 3 |
| --- | --- | --- | --- |
|  | Classroom | _____________ | _____________ |
| Dry probe temperature (Probe 1) | °C | °C | °C |
| Wet probe temperature (Probe 2) | °C | °C | °C |
| Temperature difference | °C | °C | °C |
| Relative humidity | % | % | % |

PROCESSING THE DATA

1.	In the space provided in your data table, subtract to find the difference between the dry-probe (Probe 1) and wet-probe (Probe 2) temperatures at each site.

2.	Determine the relative humidity at each site using the Relative Humidity table in Table 1.

- Find the temperature difference you calculated in Step 1 at the top of the table. Keep one finger on this number.

- Find the dry probe (Probe 1) temperature in the first column of the table.

- Look across the row until you find the column marked with your finger. This is the relative humidity.

- Record this number in your data table.

3.	How did the wet probe temperature compare with the dry probe temperature at each site? Explain.

4.	Which site had the highest relative humidity? Why?

5.	Which site had the lowest relative humidity? Explain.

EXTENSIONS

1.	Compare relative humidity values at sunny and shaded sites outdoors.

2.	Compare relative humidity values at breezy and protected sites outdoors.