A Water Field Study

When finding water quality, there are many measurements that can be made. In this experiment, you will measure water temperature, conductivity, and pH. Water temperatures in streams can range from 0C in the winter to above 30C in the summer. Cooler water in a stream is generally considered healthier than warmer water. Problems generally occur when changes in water temperature are noted along one stream on the same day. Some sample data are listed in Table 1.

| Table 1: Water Temperatures of Selected Rivers |  |  |  |  |
| --- | --- | --- | --- | --- |
| Site | Season | Temperature (°C) | Season | Temperature (°C) |
| Hudson River, Poughkeepsie, NY | Winter | 5 | Summer | 25 |
| Mississippi River, Memphis, TN | Winter | 7 | Summer | 29 |
| Rio Grande, El Paso, TX | Winter | 16 | Summer | 21 |
| Missouri River, Garrison Dam, ND | Winter | 3 | Summer | 14 |
| Willamette River, Portland, OR | Winter | 9 | Summer | 22 |

Conductivity values in lakes and streams are typically found to be in the range of 100 to 500 µS/cm. In areas of especially hard water or high salinity, conductivity values may be as high as 1000 µS/cm. Drinking water usually has conductivity in the 50 to 1000 µS/cm range. Some sample data are listed in Table 2.

| Table 2: Conductivity in Selected Rivers |  |  |  |  |
| --- | --- | --- | --- | --- |
| Site | Season | Conductivity (µS/cm) | Season | Conductivity (µS/cm) |
| Hudson River, Poughkeepsie, NY | Spring | 180 | Fall | 238 |
| Mississippi River, Memphis, TN | Spring | 266 | Fall | 440 |
| Rio Grande, El Paso, TX | Spring | 1020 | Fall | 1220 |
| Sacramento River, Keswick, CA | Spring | 142 | Fall | 120 |
| Ohio River, Benwood, WV | Spring | 600 | Fall | 286 |

The best pH range for most aquatic organisms is pH 6.5 to 8.2. The pH values of streams and lakes are usually between pH 7 and 8. Hard water will often have pH values between 7.5 and 8.5.

When doing this experiment, you might choose to compare water quality at two or more points on the same stream, in two or more different streams or lakes, or in a lake and a stream that runs into it.

OBJECTIVES

In this experiment, you will

- Use a Temperature Probe to measure water temperature.

- Use a Conductivity Probe to measure the conductivity of water.

- Use a pH Sensor to measure the pH of water.

- Make visual observations at the test sites.

- Compare water quality.

MATERIALS

| computer | Vernier pH Sensor |
| --- | --- |
| Vernier computer interface | colorless plastic bottle |
| Temperature Probe | plastic cup or beaker |
| Vernier Conductivity Probe |  |

Choosing a Data-Collection Method

- Method 1 should be used if you have Go! products or a battery-powered LabPro interface with a laptop computer. The instructions for using a LabPro are found below the instructions for use with Go! products in the section entitled Method 1.

- Method 2 should be used if you have a LabPro interface with a desktop computer.

METHOD 1: Interface Remains Attached to a Computer

Figure 1

Using Go! Products

1.	Fill the plastic bottle with water taken below the water surface at a point one meter from the shore. CAUTION: Take all necessary precautions to ensure your safety!

2.	Measure the temperature of the sample water.

- Connect the Temperature Probe to your computer.

- Start the Vernier data-collection program and open the file “22a Water Field Study–Temp” from the Middle School Science with Vernier folder.

- Place the Temperature Probe in the sample water. When the reading has stabilized, record it in your data table.

- Unplug the Temperature Probe from the computer.

3.	Measure the pH of the sample water.

- Connect the Go! Link to your computer and connect the 
pH Sensor to the Go! Link.

- Open the file “22b Water Field Study–pH” from the Middle School Science with Vernier folder.

- Remove the pH Sensor from its storage bottle.

- Rinse the pH Sensor with sample water.

- Place the pH Sensor in the sample bottle. When the reading has stabilized, record it in your data table.

- Rinse the pH Sensor with distilled water and return it to its storage bottle.

4.	Measure the Conductivity of the sample water.

- Disconnect the pH Sensor from the Go! Link and replace it with the Conductivity Probe.

- Open the file “22c Water Field Study–Con” from the Middle School Science with Vernier folder.

- Rinse the Conductivity Probe with sample water.

- Place the Conductivity Probe in the sample bottle. When the reading has stabilized, record it in your data table.

5.	Note and record the clarity (clearness) of the water sample.

6.	Make and record other observations (concerning algae, plants, water “critters,” animals, flow rate, etc.) related to water quality at the site.

7.	Repeat Steps 1–6 at one or more other sites.

Using a LabPro

1.	Fill the plastic bottle with water taken below the water surface at a point one meter from the shore. CAUTION: Take all necessary precautions to ensure your safety!

2.	Measure the temperature of the sample water.

- Connect the Temperature Probe to Channel 1.

- Start the Vernier data-collection program and open the file “22a Water Field Study–Temp” from the Middle School Science with Vernier folder.

- Place the Temperature Probe in the sample water. When the reading has stabilized, record it in your data table.

- Disconnect the Temperature Probe from the interface.

3.	Measure the pH of the sample water.

- Connect the pH Sensor to Channel 1.

- Open the file “22b Water Field Study–pH” from the Middle School Science with Vernier folder.

- Remove the pH Sensor from its storage bottle.

- Rinse the pH Sensor with sample water.

- Place the pH Sensor in the sample bottle. When the reading has stabilized, record it in your data table.

- Rinse the pH Sensor with distilled water and return it to its storage bottle.

4.	Measure the Conductivity of the sample water.

- Disconnect the pH Sensor from the interface and replace it with the Conductivity Probe.

- Open the file “22c Water Field Study–Con” from the Middle School Science with Vernier folder.

- Rinse the Conductivity Probe with sample water.

- Place the Conductivity Probe in the sample bottle. When the reading has stabilized, record it in your data table.

5.	Note and record the clarity (clearness) of the water sample.

6.	Make and record other observations (concerning algae, plants, water “critters,” animals, flow rate, etc.) related to water quality at the site.

7.	Repeat Steps 1–6 at one or more other sites.

METHOD 2: Using LabPro Remotely

Part I Setting up LabPro with a Computer

Note: You must use Logger Pro software and a LabPro to collect data remotely. Logger Lite and Go! products do not support remote data collection.

1.	Connect the Temperature Probe to Channel 1 of the LabPro interface.

2.	Connect the Conductivity Probe to Channel 2. Make sure the switch on the Conductivity Probe is set on the 0–2000 µS/cm position.

3.	Connect the pH Sensor to Channel 3.

4.	Start the Vernier data-collection program and open the file “22 A Water Field Study” in the Middle School Science with Vernier.

5. 	Choose Remote  Remote Setup from the Experiment menu. A summary of your setup will be displayed.

6.	Disconnect the computer cable from LabPro and go to your test site. Two Important Notes: (1) Be very careful not to press the START/STOP button on LabPro until you are ready to begin collecting data, and (2) do not close the Logger Pro computer program.

Part II Collecting Data

7.	At your test site, fill three paper cups with the sample water. The sample water should be taken from below the water surface at a point approximately one meter from the shore. CAUTION: Take all necessary precautions to ensure your safety!

Figure 2

8.	Remove the pH Sensor from its protective container and store the container safely aside. Rinse the tip of the sensor using a plastic cup or beaker and sample water.

9.	Hold the Temperature Probe in one paper cup, the Conductivity Probe in the second paper cup and the pH Sensor in the third paper cup. Note: Three cups are used because these three sensors can interfere with each other if they are in the same container.

10.	Gently swirl for approximately 30 seconds, then press the START/STOP button on the LabPro interface. The first set of data has been stored.

11.	Note and record the clarity (clearness) of the water sample.

12.	Make and record other observations (concerning algae, plants, water “critters,” animals, flow rate, etc.) related to water quality at the site.

13.	Repeat Steps 7–12 at one or more other sites.

Part III Retrieving Your Data

14.	When data collection is finished, go back to the computer and reattach the interface. If a Remote Data Available window appears, simply click the YES button and choose to retrieve remote data into the current file. If a window does not appear when the interface is reconnected, choose Remote  Retrieve Remote Data from the Experiment menu.

DATA AND OBSERVATIONS

| Site |  |  |
| --- | --- | --- |
| Temperature (°C) |  |  |
| Conductivity (µS/cm) |  |  |
| pH |  |  |
| Clarity |  |  |
| Other observations |  |  |

PROCESSING THE DATA

1.	How did the water quality at the different sites compare?

2.	What differences did you find? Explain the differences.

3.	What similarities did you find? Explain the similarities.

4.	At which site was the water “best”? Explain why it was the best.

5.	What new ideas for testing water quality did you come up with while doing this experiment?

EXTENSIONS

1.	Test water quality at the same site at different times.

2.	Test the effects of rain or snow on water quality.

3.	Test water quality at sites upstream and downstream from a wastewater treatment plant.