Relative Humidity

Relative Humidity is a measure of the amount of water vapor in the air at a particular temperature compared with the total amount of water the air can hold at the same temperature. In this experiment, you will use a handheld to determine relative humidity at several places inside and outside your school.

OBJECTIVES

In this experiment, you will

- Measure temperature.

- Determine relative humidity.

- Explain your results.

MATERIALS

| LabPro interface | piece of shoelace, 5 cm long |
| --- | --- |
| Palm handheld | masking tape |
| Data Pro program | beaker |
| 2 Temperature Probes | water |

Figure 1

PROCEDURE

1.	Plug Temperature Probe 1 into Channel 1 of the LabPro interface. Plug Temperature Probe 2 into Channel 2. Connect the handheld to the LabPro using the interface cable. Firmly press in the cable ends.

2.	Press the power button on the handheld to turn it on. To start Data Pro, tap the Data Pro icon on the Applications screen. Choose New from the Data Pro menu or tap  to reset the program.

3.	Set up the handheld and interface for two Temperature Probes.

- If the handheld displays TEMP(C) in CH 1 and CH 2, proceed directly to Step 4. If it does not, continue with this step to set up your sensors manually.

- On the Main screen, tap .

- Tap  to select Channel 1.

- Press the Scroll buttons on the handheld to scroll through the list of sensors.

- Select the correct Temperature Probe (in °C) from the list of sensors.

- Tap  to select Channel 2.

- Press the Scroll buttons on the handheld to scroll through the list of sensors.

- Select the correct Temperature Probe (in °C) from the list of sensors

- Tap  to return to the Main screen.

4.	Slip Probe 2 into a 5 cm piece of shoelace until the probe tip is at the middle of the shoelace piece. Fasten the shoelace to the probe with masking tape as shown in Figure 1.

5.	Determine the dry probe and wet probe temperatures at Site 1 (the classroom).

- Wet the shoelace on Probe 2 by placing it into a beaker of water that is at or above room temperature. Probe 1 is to stay dry.

- Take a probe in each hand and gently wave the probes in the air.

- Continue waving the probes until the temperatures measured by both probes stop changing.

- Record both final temperatures in your data table.

6.	Repeat Step 5 at another location inside your school. Be sure to resoak the shoelace on Probe 2 when you are at the new location. Allow enough time for the Temperature Probes to adjust to the temperature at the new location before beginning data collection.

7.	Repeat Step 6 outside your school. Use water that is at or above the air temperature at the outside location. (For example: If the outside air temperature is 22°C, the water temperature must be 22°C or higher.)

DATA

|  | Site 1 | Site 2 | Site 3 |
| --- | --- | --- | --- |
|  | Classroom | _____________ | _____________ |
| Dry probe temperature (Probe 1) | °C | °C | °C |
| Wet probe temperature (Probe 2) | °C | °C | °C |
| Temperature difference | °C | °C | °C |
| Relative humidity | % | % | % |

TABLE 1  Relative Humidity

| Dry Probe | Dry Probe Temperature Minus Wet Probe Temperature (C) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Temperature | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| 10C | 88 | 77 | 66 | 55 | 44 | 34 | 24 | 15 | 6 |  |
| 11C | 89 | 78 | 67 | 56 | 46 | 36 | 27 | 18 | 9 |  |
| 12C | 89 | 78 | 68 | 58 | 48 | 39 | 29 | 21 | 12 |  |
| 13C | 89 | 79 | 69 | 59 | 50 | 41 | 32 | 22 | 15 | 7 |
| 14C | 90 | 79 | 70 | 60 | 51 | 42 | 34 | 26 | 18 | 10 |
| 15C | 90 | 80 | 71 | 61 | 53 | 44 | 36 | 27 | 20 | 13 |
| 16C | 90 | 81 | 71 | 63 | 54 | 46 | 38 | 30 | 23 | 15 |
| 17C | 90 | 81 | 72 | 64 | 55 | 47 | 40 | 32 | 25 | 18 |
| 18C | 91 | 82 | 73 | 65 | 57 | 49 | 41 | 34 | 27 | 20 |
| 19C | 91 | 82 | 74 | 65 | 58 | 50 | 43 | 36 | 29 | 22 |
| 20C | 91 | 83 | 74 | 67 | 59 | 53 | 46 | 39 | 32 | 26 |
| 21C | 91 | 83 | 75 | 67 | 60 | 53 | 46 | 39 | 32 | 26 |
| 22C | 92 | 83 | 76 | 68 | 61 | 54 | 47 | 40 | 34 | 28 |
| 23C | 92 | 84 | 76 | 69 | 62 | 55 | 48 | 42 | 36 | 30 |
| 24C | 92 | 84 | 77 | 69 | 62 | 56 | 49 | 43 | 37 | 31 |
| 25C | 92 | 84 | 77 | 70 | 63 | 57 | 50 | 44 | 39 | 33 |
| 26C | 92 | 85 | 78 | 71 | 64 | 58 | 51 | 46 | 40 | 34 |
| 27C | 92 | 85 | 78 | 71 | 65 | 58 | 51 | 46 | 40 | 34 |
| 28C | 93 | 85 | 78 | 72 | 65 | 59 | 53 | 48 | 42 | 37 |
| 29C | 93 | 86 | 79 | 72 | 66 | 60 | 54 | 49 | 43 | 38 |
| 30C | 93 | 86 | 79 | 73 | 67 | 61 | 55 | 50 | 44 | 39 |

PROCESSING THE DATA

1.	In the space provided in the data table, subtract to find the difference between the dry-probe (Probe 1) and wet-probe (Probe 2) temperatures at each site.

2.	Determine the relative humidity at each site using the Relative Humidity table above.

- Find the temperature difference you calculated in Step 1 at the top of the table. Keep one finger on this number.

- Find the dry probe (Probe 1) temperature in the first column of the table.

- Look across the row until you find the column marked with your finger. This is the relative humidity.

- Record this number in your data table.

3.	How did the wet probe temperature compare with the dry probe temperature at each site? Explain.

4.	Which site had the highest relative humidity? Why?

5.	Which site had the lowest relative humidity? Explain.

EXTENSIONS

1.	Compare relative humidity values at sunny and shaded sites outdoors.

2.	Compare relative humidity values at breezy and protected sites outdoors.