Yeast Beasts in Action

Yeasts are microorganisms. They can break hydrogen peroxide down into water and oxygen gas. In this experiment you will investigate yeast activity in acidic, neutral, and basic mixtures. You will observe yeast activity by measuring pressure caused by the oxygen gas they produce.

OBJECTIVES

In this experiment, you will

- Use a Gas Pressure Sensor to measure pressure.

- Measure and compare yeast activity in acidic, neutral, and basic mixtures.

- Make a conclusion about yeast activity.

MATERIALS

| LabPro interface | yeast suspension |
| --- | --- |
| Palm handheld | 3 test tubes |
| Data Pro program | test tube rack |
| Vernier Gas Pressure Sensor | dropper |
| 1-hole stopper with tapered valve | acidic mixture (diet soft drink) |
| 10 mL graduated cylinder | neutral mixture (skim milk) |
| 3% hydrogen peroxide | basic mixture (stomach antacid) |

Figure 1

PROCEDURE

1.	Obtain and wear goggles.

2.	Plug the Pressure Sensor into Channel 1 of the LabPro interface. Connect the handheld to the LabPro using the interface cable. Firmly press in the cable ends.

3.	Press the power button on the handheld to turn it on. To start Data Pro, tap the Data Pro icon on the Applications screen. Choose New from the Data Pro menu or tap  to reset the program.

4.	Set up the handheld and interface for the correct Pressure Sensor.

- On the Main screen, tap .

- If the handheld displays PRESS(kPa) in CH 1, proceed directly to Step 5. If it does not, continue with this step to set up your sensor manually.

- Tap  to select Channel 1.

- Press the Scroll buttons on the handheld to scroll through the list of sensors.

- Select the correct Pressure Sensor (in kPa) from the list of sensors.

5.	Setup the handheld and interface for data collection.

- While still on the Setup screen, tap .

- Enter “6” as the time between samples in seconds, using the onscreen keyboard (tap “123”) or using the Graffiti writing area.

- Enter “20” as the number of samples. (The length of the data collection will be 2 minutes.)

- Tap  twice to return to the Main screen.

6.	Place three clean test tubes in a test tube rack and label them A, N, and B (for acid, neutral, and base). Add 3 mL of hydrogen peroxide and 3 mL of each mixture to its test tube, as directed in the table below.

| Mixture | mL Hydrogen peroxide | mL Mixture |
| --- | --- | --- |
| A (acid) | 3 | 3 |
| N (neutral) | 3 | 3 |
| B (base) | 3 | 3 |

7.	Using a clean dropper, add 2 drops of yeast to Test Tube A. Note: Be sure not to let the yeast fall against the side of the test tube.

Figure 2

8.	Insert the 1-hole stopper assembly into the test tube. Note: Firmly twist the stopper for an airtight fit.

9.	Swirl the tube to thoroughly mix its contents. Stand the test tube in the rack.

10.	Connect the free end of the plastic tubing to the connector in the rubber stopper as shown in Figure 2.

11.	Tap  to begin data collection.

12.	Data will be collected for 2 minutes. Do not shake the test tube during data collection.

13.	Record the highest pressure for this run.

- When data collection is complete after 2 minutes, a graph of pressure vs. time will be displayed. To examine the data pairs on the displayed graph, tap  or any data point. As you move the examine line, the pressure values of each data point are displayed to the right of the graph.

- Record the highest pressure reading.

14.	Disconnect the tubing from the rubber stopper and remove the rubber stopper from the test tube.

15.	Repeat Steps 7-14 using Test Tube N.

16.	Repeat Steps 7-14 using Test Tube B.

DATA

| Mixture | Highest pressure (kPa) |
| --- | --- |
| Acidic (diet soft drink) |  |
| Neutral (skim milk) |  |
| Basic (stomach antacid) |  |

PROCESSING THE DATA

1.	In which mixture was the yeast activity greatest? Explain.

2.	In which mixture was the yeast activity least? Explain.

3.	What can you conclude from the results of your experiment?

EXTENSIONS

1.	Prepare a bar graph of the results of your experiment.

2.	Observe yeast growing under a microscope.

3.	Use a pH system to measure the pH of each mixture used in this experiment.

4.	Design an experiment to find the best pH for yeast. Perform the experiment you designed.