Mapping a Magnetic Field

The region around a magnet where magnetic force acts is called a magnetic field. In this experiment, you will map the magnetic field at one-centimeter intervals along a bar magnet.

OBJECTIVES

In this experiment, you will

- Measure and graph magnetic field strength at points along a bar magnet.

- Analyze data.

- Make conclusions about the magnetic field at various points on a bar magnet.

MATERIALS

| LabPro interface | bar magnet |
| --- | --- |
| Palm handheld | clear tape |
| Data Pro program | ruler |
| Vernier Magnetic Field Sensor |  |

Figure 1

PROCEDURE

1.	Using clear tape, tape a ruler to your desktop. Place a bar magnet beside the ruler. Position the S-pole end of the magnet at the 3 cm mark as shown in Figure 1. Tape the magnet to the tabletop.

2.	Plug the Magnetic Field Sensor into Channel 1 of the LabPro interface. Connect the handheld to the LabPro using the interface cable. Firmly press in the cable ends. Set the Magnetic Field Sensor on its Low position.

3.	Press the power button on the handheld to turn it on. To start Data Pro, tap the Data Pro icon on the Applications screen. Choose New from the Data Pro menu or tap  to reset the program.

4.	Set up the handheld and interface for the Magnetic Field Sensor.

- Tap .

- If the handheld displays MAGNET F (mT) in CH1, proceed directly to Step 5. If it does not, continue with this step to set up your sensor manually.

- Tap  to select Channel 1.

- Choose MAGNETIC FIELD LOW (mT) from the list of sensors.

5.	Set up the handheld and interface for data collection.

- On the Setup screen, tap , then choose Events with Entry.

- Enter the Event Label (Distance) and Unit (cm). You can enter this information using the onscreen keyboard (tap “abc”), or by using the Graffiti writing area.

- Tap  to return to the Setup screen.

6.	Zero the Magnetic Field Sensor.

- Make sure the Magnetic Field Sensor is far away from the bar magnet.

- Hold the sensor so the white spot faces up and is parallel to the tabletop.

- Tap  on the Setup screen.

- When the field readings on the screen stabilize, tap . When  changes back to , the process is complete, and the readings should be close to zero.

- Tap  twice to return to the Main screen.

7.	Tap  to begin data collection.

8.	Collect data at the 0 cm distance.

- Place the Magnetic Field Sensor perpendicular to the bar magnet as shown in Figure 1. Center the white spot at the 0 cm mark of the ruler. Rotate the Magnetic Field Sensor so the white spot faces up and is parallel to the tabletop. Keep the white spot parallel to the tabletop throughout the experiment. When the reading has stabilized, tap .

- Enter “0” (for 0 cm) using the numerical keyboard displayed on the screen. Tap  to save this data pair.

9.	Move the sensor, and repeat the Step 8 procedure at 1 cm intervals until you have reached a point 3 cm beyond the N-pole end of the bar magnet.

10.	When you have finished, tap , then tap  to display a graph of magnetic field strength vs. distance.

11.	To examine the data pairs on the displayed graph, tap  or any data point. As you move the examine line, the magnetic field strength and distance values of each data point are displayed to the right of the graph. Record the magnetic field strength values.

12.	Sketch or print the graph as directed by your teacher.

DATA

| Distance (cm) | Magnetic field (mT) | Distance (cm) | Magnetic field (mT) | Distance (cm) | Magnetic field (mT) |
| --- | --- | --- | --- | --- | --- |
| 0 |  | 9 |  | 18 |  |
| 1 |  | 10 |  | 19 |  |
| 2 |  | 11 |  | 20 |  |
| 3 |  | 12 |  | 21 |  |
| 4 |  | 13 |  | 22 |  |
| 5 |  | 14 |  | 23 |  |
| 6 |  | 15 |  | 24 |  |
| 7 |  | 16 |  | 25 |  |
| 8 |  | 17 |  | 26 |  |

PROCESSING THE DATA

1.	Where on the bar magnet was the largest positive magnetic field strength reading observed?

2.	Where on the bar magnet was the most negative magnetic field strength reading observed?

3.	At what centimeter distance does your graph have a zero value magnetic field strength value? At what point is this on the bar magnet?

4.	Why does the graph have both positive and negative magnetic field strength values?

EXTENSION

1.	Test the strengths of different magnet types at the same distance from the sensor. Which magnet types are strongest? Weakest?